**Appendix Table E78. Quality assessment of studies assessing the predictive ability of Multiplate Analyzer in patients with cerebrovascular disease**

| **Author, year [ref]****UID****Country****Study Name** | **Patients selection** |  |  |  |  | **Index test** |  |  |  | **Reference standard** |  |  |  | **Flow and timing** |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | **1** | **2** | **3** | **ROB****(selection)** | **Applicability****(selection)** | **4** | **5** | **ROB****(index)** | **Applicability****(index)** | **6** | **7** | **ROB****(reference)** | **Applicability****(reference)** | **8** | **9** | **10** | **11** | **ROB****(flow & timing)** |
| Muller-Schunk, 200818223094GermanyNR | Yes | No | Yes | Low | Low | NR | NO | HIGH | LOW | YES | NR | UNCLEAR | LOW | NO (30 days) | YES | YES | YES | LOW |