## Sheet1
Power Plant - Design Case | [12 empty] | Power Plant - Off Design Case
Conversions
3600 | s = 1 hr
3.413 | Btu/hr = 1W | 3515 | psia | [11 empty] | 3515 | psia
1000 | W = 1kW | 1000 | F | [11 empty] | 1000 | F
1.0548 | kW-s = 1 Btu | #NAME? | Btu/lb |  |  |  | Turbine Net Heat Rate |  | #NAME? | Btu/kW-hr |  |  |  |  | #NAME? | Btu/lb |  |  |  | Turbine Net Heat Rate |  | #NAME? | Btu/kW-hr
MW Water | 18.0153 | 1387.3492 | lb/s |  | #NAME? | kW | Turbine Net Output |  | #NAME? | kW |  |  |  |  | 1387.3492 | lb/s |  | #NAME? | kW | Turbine Net Output |  | #NAME? | kW
T (F→R) | 459.67
|  |  | HP Steam | [12 empty] | HP Steam
Known Efficiencies
Generator Efficiency | 0.985
Boiler Efficiency | 0.9 |  |  | 691.92 | psia | [11 empty] | 684.8173 | psia
LP Condensate Pump Eff | 0.82 |  |  | 1000 | F | [11 empty] | 1000 | F
HP Condensate Pump Eff | 0.85 |  |  | #NAME? | Btu/lb |  | #NAME? | kW |  |  |  |  | In House Steam Use |  |  |  | #NAME? | Btu/lb |  | #NAME? | kW
Auxiliary Turbine Efficiency | 0.8 |  |  | #NAME? | lb/s | [11 empty] | #NAME? | lb/s
Boiler Pressure Drop | 0.17 |  | To Feedwater Heater | [9 empty] | From extraction point (5) |  |  | To Feedwater Heater
Reheater Pressure Drop | 0.07 | #NAME? | lb/s | [9 empty] | Air Preheat (lb/hr) | 103400 | #NAME? | lb/s
[13 empty] | Auxiliary Turbine (lb/hr) | #NAME?
In House Steam Use | [12 empty] | From extraction point (4)
[6 empty] | 153 | psia | [5 empty] | Steam for regeneration | 1700000 |  |  |  |  | 133.322 | psia
From extraction point (5) | [5 empty] | 623.22 | F |  | #NAME? | kW | [8 empty] | #NAME? | F |  | #NAME? | kW
Steam to air preheat (lb/hr) | 103400 |  |  |  |  | #NAME? | Btu/lb | [5 empty] | OFF - Design | [5 empty] | #NAME? | Btu/lb
Auxiliary Turbine (lb/hr) | #NAME? |  | To Feedwater Heaters |  |  | #NAME? | lb/s | [5 empty] | To Run Off -Design You only need to: |  |  | To Feedwater Heaters |  |  | #NAME? | lb/s
|  | #NAME? | lb/s | [6 empty] | ELEP |  |  | 1.) Set Throttle Steam Flow Ratio or Bolier Flow Rate |  | #NAME? | lb/s | [6 empty] | ELEP
2.) Run The Macro: Complete_Off_Design_Calculations
Turbine Exhaust End Design | [9 empty] | 1.23 | psia | [11 empty] | 1.23 | psia
see Spencer et al. (1963) |  |  |  | In House | [5 empty] | #NAME? | F |  | Throttle Steam Flow Ratio | 1 |  |  | In House | [5 empty] | #NAME? | F
Number of flows | 4 |  |  | #NAME? | lb/s |  |  |  |  | 1012.23 | Btu/lb |  | Boiler Flow Rate - Off Design | Flow Rate |  |  | #NAME? | lb/s |  |  |  |  | #NAME? | Btu/lb
Last Stage Blade (inches) | 30 | [8 empty] | #NAME? | lb/s |  | (lb/hr) | (lb/s) | [8 empty] | #NAME? | lb/s
Annulus Area (ft2) | 55.6 |  |  |  |  | To Feedwater Heaters |  |  |  | #NAME? | vap frac |  | 4994457 | 1387.3492 |  |  |  |  | To Feedwater Heaters |  |  |  | #NAME? | vap frac
[6 empty] | #NAME? | lb/s | [5 empty] | Reheat Temperature (F) - Off Design | [5 empty] | #NAME? | lb/s
1000
[10 empty] | Real | [12 empty] | Real
Turbine Section |  | Pressure | Temp | ηDesign | Flow Rate | Flow Rate | Steam H | Real H | Real S | Specific Vol | KDesign |  | Turbine Section |  | Pressure | Temp | η | Flow Rate | Flow Rate | Steam H | Real H | Real S | Specific Vol
Thermodynamics |  | (psia) | (F) |  | (lb/hr) | (lb/s) | (Btu/lb) | (Btu/lb) | (Btu/lb-F) | (ft3/lb) |  |  | Thermodynamics |  | (psia) | (F) |  | (lb/hr) | (lb/s) | (Btu/lb) | (Btu/lb) | (Btu/lb-F) | (ft3/lb)
High Pressure Turbine | [12 empty] | High Pressure Turbine
| Throttle Conditions | 3515 | 1000 |  | 4994457 | 1387.3492 | #NAME? |  | #NAME? | #NAME? |  |  |  | Throttle Conditions | 3515 | 1000 |  | 4994457 | 1387.3492 | #NAME? |  | #NAME? | #NAME?
| Extraction Conditions (7) | 744 | 598.15 | #NAME? | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME? | #NAME? |  |  | Extraction Conditions (7) | 737.5424 | #NAME? | 0.83475 | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME?
| Outlet - Inlet of Reheater | 744 | 598.15 | #NAME? | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME? |  |  |  | Outlet - Inlet of Reheater | 737.5424 | #NAME? | 0.83475 | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME?
Intermediate Pressure Turbine | [12 empty] | Intermediate Pressure Turbine
| Inlet Conditions | 691.92 | 1000 |  | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME? |  |  |  | Inlet Conditions | 684.8173 | 1000 |  | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME?
| Extraction Conditions (6) | 307 | 782.91 | #NAME? | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME? | #NAME? |  |  | Extraction Conditions (6) | 294.6301 | #NAME? | 0.88997 | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME?
| Extraction Conditions (5) | 153 | 623.22 | #NAME? | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME? | #NAME? |  |  | Extraction Conditions (5) | 133.322 | #NAME? | 0.86371 | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME?
| Outlet - Inlet of LP Turbine | 153 | 623.22 | #NAME? | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME? |  |  |  | Outlet - Inlet of LP Turbine | 133.322 | #NAME? | 0.86371 | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME?
Low Pressure Turbine | [12 empty] | Low Pressure Turbine
| Inlet Conditions | 153 | 623.22 |  | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME? |  |  |  | Inlet Conditions | 133.322 | #NAME? |  | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME?
| Extraction Conditions (4) | 60.6 | 435.13 | #NAME? | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME? | #NAME? |  |  | Extraction Conditions (4) | 24.8411 | #NAME? | 0.88547 | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME?
| Extraction Conditions (3) | 34.5 | 337.74 | #NAME? | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME? | #NAME? |  |  | Extraction Conditions (3) | 13.7568 | #NAME? | 0.86151 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
| Extraction Conditions (2) | 18.7 | 244 | #NAME? | #NAME? | #NAME? | #NAME? |  | #NAME? | #NAME? | #NAME? |  |  | Extraction Conditions (2) | 7.4505 | #NAME? | 0.852 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
| Extraction Conditions (1) | 6.82 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | 1102.91 | #NAME? | #NAME? | #NAME? |  |  | Extraction Conditions (1) | 2.9594 | #NAME? | 0.8633 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
| Outlet Conditions - ELEP | 1.23 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | 1012.23 | #NAME? | #NAME? | #NAME? |  |  | Outlet Conditions - ELEP | 1.23 | #NAME? | 0.85975 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME?
Condenser | [12 empty] | Condenser
| Inlet Conditions - UEEP | 1.23 | #NAME? |  | #NAME? | #NAME? | #NAME? | #VALUE! | [5 empty] | Inlet Conditions - UEEP | 1.23 | #NAME? |  | #NAME? | #NAME? | #NAME? | #NAME?
| Outlet Conditions (water) | 1.23 | #NAME? |  |  |  | #NAME? |  | #NAME? |  |  |  |  | Outlet Conditions (water) | 1.23 | #NAME? |  |  |  | #NAME? |  | #NAME?
Turbine Section | [12 empty] | Turbine Section
Heat and Power |  |  | Power | Heat Input | [8 empty] | Heat and Power |  |  | Power | Heat Input
High Pressure Turbine |  |  | (kW) | (Btu/hr) | [8 empty] | High Pressure Turbine |  |  | (kW) | (Btu/hr)
| Throttle Conditions | [12 empty] | Throttle Conditions
| Extraction Conditions (7) |  |  | #NAME? | [9 empty] | Extraction Conditions (7) |  |  | #NAME?
| Outlet - Inlet of Reheater |  | #NAME? | [10 empty] | Outlet - Inlet of Reheater |  | #NAME?
Intermediate Pressure Turbine | [12 empty] | Intermediate Pressure Turbine
| Inlet Conditions | [12 empty] | Inlet Conditions
| Extraction Conditions (6) |  |  | #NAME? | [9 empty] | Extraction Conditions (6) |  |  | #NAME?
| Extraction Conditions (5) |  | #NAME? | [10 empty] | Extraction Conditions (5) |  | #NAME?
| Outlet - Inlet of LP Turbine |  | #NAME? | [10 empty] | Outlet - Inlet of LP Turbine |  | #NAME?
Low Pressure Turbine | [12 empty] | Low Pressure Turbine
| Inlet Conditions | [12 empty] | Inlet Conditions
| Extraction Conditions (4) |  | #NAME? | [10 empty] | Extraction Conditions (4) |  | #NAME?
| Extraction Conditions (3) |  | #NAME? | [10 empty] | Extraction Conditions (3) |  | #NAME?
| Extraction Conditions (2) |  | #NAME? | [10 empty] | Extraction Conditions (2) |  | #NAME?
| Extraction Conditions (1) |  | #NAME? | [10 empty] | Extraction Conditions (1) |  | #NAME?
| Outlet Conditions - ELEP |  | #NAME? | [10 empty] | Outlet Conditions - ELEP |  | #NAME?
Condenser | [12 empty] | Condenser
| Inlet Conditions - UEEP |  | #NAME? | [10 empty] | Inlet Conditions - UEEP |  | #NAME?
| Outlet Conditions |  | (this is lost work) | [10 empty] | Outlet Conditions |  | (this is lost work)
Heat and Power Summary | [12 empty] | Heat and Power Summary
Turbine Net Output (kW) |  |  | #NAME? | [9 empty] | Turbine Net Output (kW) |  |  | #NAME?
Net Generator Output |  |  | #NAME? | [9 empty] | Net Generator Output |  |  | #NAME?
Heat Input to Turbines (Btu/hr) |  |  |  | #NAME? | [8 empty] | Heat Input to Turbines (Btu/hr) |  |  |  | #NAME?
Turbine Net Heat Rate (Btu/kW-hr) |  | #NAME? | [10 empty] | Turbine Net Heat Rate (Btu/kW-hr) |  | #NAME?
Turbine Section | [12 empty] | Turbine Section
Thermodynamic Details | [12 empty] | Thermodynamic Details
|  | Turbine HP - Throttle to Extraction 7 | [12 empty] | Turbine HP - Throttle to Extraction 7
|  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions |  |  |  |  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions
|  | P Throttle | 3515 | psia |  | P7 (isen) | 744 | psia |  | P7 (real) | 744 | psia |  |  | P Throttle | 3515 | psia |  | P7 (isen) | 737.5424 | psia |  | P7 (real) | 737.5424 | psia
|  | T Throttle | 1459.67 | R |  | T7 (isen) | #NAME? | R |  | T7 (real) | 1057.82 | R |  |  | T Throttle | 1459.67 | R |  | T7 (isen) | #NAME? | R |  | T7 (real) | #NAME? | R
|  | H Throttle | #NAME? | Btu/lb |  | H7 (isen) | #NAME? | Btu/lb |  | H7 (real) | #NAME? | Btu/lb |  |  | H Throttle | #NAME? | Btu/lb |  | H7 (isen) | #NAME? | Btu/lb |  | H7 (real) | #NAME? | Btu/lb
|  | S Throttle | #NAME? | Btu/lb-R |  | S7 (isen) | #NAME? | Btu/lb-R |  | S7 (real) | #NAME? | Btu/lb-R |  |  | S Throttle | #NAME? | Btu/lb-R |  | S7 (isen) | #NAME? | Btu/lb-R |  | S7 (real) | #NAME? | Btu/lb-R
[10 empty] | η | #NAME? | [11 empty] | η | 0.83475
|  |  |  | sat vapor |  |  | sat liquid | [9 empty] | sat vapor |  |  | sat liquid
|  |  |  | P7 | 744 |  | P7 | 744 | [8 empty] | P7 | 737.5424 |  | P7 | 737.5424
|  |  |  | T7 (sat v) | #NAME? |  | T7 (sat l) | #NAME? | [8 empty] | T7 (sat v) | #NAME? |  | T7 (sat l) | #NAME?
|  |  |  | H7 (sat v) | #NAME? |  | H7 (sat l) | #NAME? | [8 empty] | H7 (sat v) | #NAME? |  | H7 (sat l) | #NAME?
|  |  |  | S7 (sat v) | #NAME? |  | S7 (sat l) | #NAME? | [8 empty] | S7 (sat v) | #NAME? |  | S7 (sat l) | #NAME?
[5 empty] | quality S7 | #NAME? |  |  |  | quality H7 | #NAME? | [6 empty] | quality S7 | #NAME? |  |  |  | quality H7 | #NAME?
[5 empty] | å S Values |  |  |  |  | å H Values | [7 empty] | å S Values |  |  |  |  | å H Values
|  | Turbine IP - Inlet to Extraction 6 | [12 empty] | Turbine IP - Inlet to Extraction 6
|  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions |  |  |  |  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions
|  | Pin IPT(real) | 691.92 | psia |  | P6 (isen) | 307 | psia |  | P6 (real) | 307 | psia |  |  | Pin IPT(real) | 684.8173 | psia |  | P6 (isen) | 294.6301 | psia |  | P6 (real) | 294.6301 | psia
|  | Tin IPT(real) | 1459.67 | R |  | T6 (isen) | #NAME? | R |  | T6 (real) | 1242.58 | R |  |  | Tin IPT(real) | 1459.67 | R |  | T6 (isen) | #NAME? | R |  | T6 (real) | #NAME? | R
|  | Hin IPT(real) | #NAME? | Btu/lb |  | H6 (isen) | #NAME? | Btu/lb |  | H6 (real) | #NAME? | Btu/lb |  |  | Hin IPT(real) | #NAME? | Btu/lb |  | H6 (isen) | #NAME? | Btu/lb |  | H6 (real) | #NAME? | Btu/lb
|  | Sin IPT(real) | #NAME? | Btu/lb-R |  | S6 (isen) | #NAME? | Btu/lb-R |  | S6 (real) | #NAME? | Btu/lb-R |  |  | Sin IPT(real) | #NAME? | Btu/lb-R |  | S6 (isen) | #NAME? | Btu/lb-R |  | S6 (real) | #NAME? | Btu/lb-R
[10 empty] | η | #NAME? | [11 empty] | η | 0.88997
|  |  |  | sat vapor |  |  | sat liquid | [9 empty] | sat vapor |  |  | sat liquid
|  |  |  | P6 | 307 |  | P6 | 307 | [8 empty] | P6 | 294.6301 |  | P6 | 294.6301
|  |  |  | T6 (sat v) | #NAME? |  | T6 (sat l) | #NAME? | [8 empty] | T6 (sat v) | #NAME? |  | T6 (sat l) | #NAME?
|  |  |  | H6 (sat v) | #NAME? |  | H6 (sat l) | #NAME? | [8 empty] | H6 (sat v) | #NAME? |  | H6 (sat l) | #NAME?
|  |  |  | S6 (sat v) | #NAME? |  | S6 (sat l) | #NAME? | [8 empty] | S6 (sat v) | #NAME? |  | S6 (sat l) | #NAME?
[5 empty] | quality S6 | #NAME? |  |  |  | quality H6 | #NAME? | [6 empty] | quality S6 | #NAME? |  |  |  | quality H6 | #NAME?
[5 empty] | å S Values |  |  |  |  | å H Values | [7 empty] | å S Values |  |  |  |  | å H Values
|  | Turbine IP - Extraction 6 to Extraction 5 | [12 empty] | Turbine IP - Extraction 6 to Extraction 5
|  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions |  |  |  |  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions
|  | P6 (real) | 307 | psia |  | P5 (isen) | 153 | psia |  | P5 (real) | 153 | psia |  |  | P6 (real) | 294.6301 | psia |  | P5 (isen) | 133.322 | psia |  | P5 (real) | 133.322 | psia
|  | T6 (real) | 1242.58 | R |  | T5 (isen) | #NAME? | R |  | T5 (real) | 1082.89 | R |  |  | T6 (real) | #NAME? | R |  | T5 (isen) | #NAME? | R |  | T5 (real) | #NAME? | R
|  | H6 (real) | #NAME? | Btu/lb |  | H5 (isen) | #NAME? | Btu/lb |  | H5 (real) | #NAME? | Btu/lb |  |  | H6 (real) | #NAME? | Btu/lb |  | H5 (isen) | #NAME? | Btu/lb |  | H5 (real) | #NAME? | Btu/lb
|  | S6 (real) | #NAME? | Btu/lb-R |  | S5 (isen) | #NAME? | Btu/lb-R |  | S5 (real) | #NAME? | Btu/lb-R |  |  | S6 (real) | #NAME? | Btu/lb-R |  | S5 (isen) | #NAME? | Btu/lb-R |  | S5 (real) | #NAME? | Btu/lb-R
[10 empty] | η | #NAME? | [11 empty] | η | 0.86371
|  |  |  | sat vapor |  |  | sat liquid | [9 empty] | sat vapor |  |  | sat liquid
|  |  |  | P5 | 153 |  | P5 | 153 | [8 empty] | P5 | 133.322 |  | P5 | 133.322
|  |  |  | T5 (sat v) | #NAME? |  | T5 (sat l) | #NAME? | [8 empty] | T5 (sat v) | #NAME? |  | T5 (sat l) | #NAME?
|  |  |  | H5 (sat v) | #NAME? |  | H5 (sat l) | #NAME? | [8 empty] | H5 (sat v) | #NAME? |  | H5 (sat l) | #NAME?
|  |  |  | S5 (sat v) | #NAME? |  | S5 (sat l) | #NAME? | [8 empty] | S5 (sat v) | #NAME? |  | S5 (sat l) | #NAME?
[5 empty] | quality S5 | #NAME? |  |  |  | quality H5 | #NAME? | [6 empty] | quality S5 | #NAME? |  |  |  | quality H5 | #NAME?
[5 empty] | å S Values |  |  |  |  | å H Values | [7 empty] | å S Values |  |  |  |  | å H Values
|  | Turbine LP - Inlet to Extraction 4 | [12 empty] | Turbine LP - Inlet to Extraction 4
|  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions |  |  |  |  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions
|  | Pin LPT(real) | 153 | psia |  | P4 (isen) | 60.6 | psia |  | P4 (real) | 60.6 | psia |  |  | Pin LPT(real) | 133.322 | psia |  | P4 (isen) | 24.8411 | psia |  | P4 (real) | 24.8411 | psia
|  | Tin LPT(real) | 1082.89 | R |  | T4 (isen) | #NAME? | R |  | T4 (real) | 894.8 | R |  |  | Tin LPT(real) | #NAME? | R |  | T4 (isen) | #NAME? | R |  | T4 (real) | #NAME? | R
|  | Hin LPT(real) | #NAME? | Btu/lb |  | H4 (isen) | #NAME? | Btu/lb |  | H4 (real) | #NAME? | Btu/lb |  |  | Hin LPT(real) | #NAME? | Btu/lb |  | H4 (isen) | #NAME? | Btu/lb |  | H4 (real) | #NAME? | Btu/lb
|  | Sin LPT(real) | #NAME? | Btu/lb-R |  | S4 (isen) | #NAME? | Btu/lb-R |  | S4 (real) | #NAME? | Btu/lb-R |  |  | Sin LPT(real) | #NAME? | Btu/lb-R |  | S4 (isen) | #NAME? | Btu/lb-R |  | S4 (real) | #NAME? | Btu/lb-R
[10 empty] | η | #NAME? | [11 empty] | η | 0.88547
|  |  |  | sat vapor |  |  | sat liquid | [9 empty] | sat vapor |  |  | sat liquid
|  |  |  | P4 | 60.6 |  | P4 | 60.6 | [8 empty] | P4 | 24.8411 |  | P4 | 24.8411
|  |  |  | T4 (sat v) | #NAME? |  | T4 (sat l) | #NAME? | [8 empty] | T4 (sat v) | #NAME? |  | T4 (sat l) | #NAME?
|  |  |  | H4 (sat v) | #NAME? |  | H4 (sat l) | #NAME? | [8 empty] | H4 (sat v) | #NAME? |  | H4 (sat l) | #NAME?
|  |  |  | S4 (sat v) | #NAME? |  | S4 (sat l) | #NAME? | [8 empty] | S4 (sat v) | #NAME? |  | S4 (sat l) | #NAME?
[5 empty] | quality S4 | #NAME? |  |  |  | quality H4 | #NAME? | [6 empty] | quality S4 | #NAME? |  |  |  | quality H4 | #NAME?
[5 empty] | å S Values |  |  |  |  | å H Values | [7 empty] | å S Values |  |  |  |  | å H Values
|  | Turbine LP - Extraction 4 to Extraction 3 | [12 empty] | Turbine LP - Extraction 4 to Extraction 3
|  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions |  |  |  |  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions
|  | P4 LPT(real) | 60.6 | psia |  | P3 (isen) | 34.5 | psia |  | P3 (real) | 34.5 | psia |  |  | P4 LPT(real) | 24.8411 | psia |  | P3 (isen) | 13.7568 | psia |  | P3 (real) | 13.7568 | psia
|  | T4 LPT(real) | 894.8 | R |  | T3 (isen) | #NAME? | R |  | T3 (real) | 797.41 | R |  |  | T4 LPT(real) | #NAME? | R |  | T3 (isen) | #NAME? | R |  | T3 (real) | #NAME? | R
|  | H4 LPT(real) | #NAME? | Btu/lb |  | H3 (isen) | #NAME? | Btu/lb |  | H3 (real) | #NAME? | Btu/lb |  |  | H4 LPT(real) | #NAME? | Btu/lb |  | H3 (isen) | #NAME? | Btu/lb |  | H3 (real) | #NAME? | Btu/lb
|  | S4 LPT(real) | #NAME? | Btu/lb-R |  | S3 (isen) | #NAME? | Btu/lb-R |  | S3 (real) | #NAME? | Btu/lb-R |  |  | S4 LPT(real) | #NAME? | Btu/lb-R |  | S3 (isen) | #NAME? | Btu/lb-R |  | S3 (real) | #NAME? | Btu/lb-R
[10 empty] | η | #NAME? | [11 empty] | η | 0.86151
[23 empty] | v3(real) | #NAME? | ft3/lb
|  |  |  | sat vapor |  |  | sat liquid | [9 empty] | sat vapor |  |  | sat liquid
|  |  |  | P3 | 34.5 |  | P3 | 34.5 | [8 empty] | P3 | 13.7568 |  | P3 | 13.7568
|  |  |  | T3 (sat v) | #NAME? |  | T3 (sat l) | #NAME? | [8 empty] | T3 (sat v) | #NAME? |  | T3 (sat l) | #NAME?
|  |  |  | H3 (sat v) | #NAME? |  | H3 (sat l) | #NAME? | [8 empty] | H3 (sat v) | #NAME? |  | H3 (sat l) | #NAME?
|  |  |  | S3 (sat v) | #NAME? |  | S3 (sat l) | #NAME? | [8 empty] | S3 (sat v) | #NAME? |  | S3 (sat l) | #NAME?
[17 empty] | v3 (sat v) | #NAME? |  | v3 (sat l) | #NAME?
[5 empty] | quality S3 | #NAME? |  |  |  | quality H3 | #NAME? | [6 empty] | quality S3 | #NAME? |  |  |  | quality H3 | #NAME?
[5 empty] | å S Values |  |  |  |  | å H Values | [7 empty] | å S Values |  |  |  |  | å H Values
|  | Turbine LP - Extraction 3 to Extraction 2 | [12 empty] | Turbine LP - Extraction 3 to Extraction 2
|  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions |  |  |  |  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions
|  | P3 LPT(real) | 34.5 | psia |  | P2 (isen) | 18.7 | psia |  | P2 (real) | 18.7 | psia |  |  | P3 LPT(real) | 13.7568 | psia |  | P2 (isen) | 7.4505 | psia |  | P2 (real) | 7.4505 | psia
|  | T3 LPT(real) | 797.41 | R |  | T2 (isen) | #NAME? | R |  | T2 (real) | 703.67 | R |  |  | T3 LPT(real) | #NAME? | R |  | T2 (isen) | #NAME? | R |  | T2 (real) | #NAME? | R
|  | H3 LPT(real) | #NAME? | Btu/lb |  | H2 (isen) | #NAME? | Btu/lb |  | H2 (real) | #NAME? | Btu/lb |  |  | H3 LPT(real) | #NAME? | Btu/lb |  | H2 (isen) | #NAME? | Btu/lb |  | H2 (real) | #NAME? | Btu/lb
|  | S3 LPT(real) | #NAME? | Btu/lb-R |  | S2 (isen) | #NAME? | Btu/lb-R |  | S2 (real) | #NAME? | Btu/lb-R |  |  | S3 LPT(real) | #NAME? | Btu/lb-R |  | S2 (isen) | #NAME? | Btu/lb-R |  | S2 (real) | #NAME? | Btu/lb-R
[10 empty] | η | #NAME? | [11 empty] | η | 0.852
[23 empty] | v2(real) | #NAME? | ft3/lb
|  |  |  | sat vapor |  |  | sat liquid | [9 empty] | sat vapor |  |  | sat liquid
|  |  |  | P2 | 18.7 |  | P2 | 18.7 | [8 empty] | P2 | 7.4505 |  | P2 | 7.4505
|  |  |  | T2 (sat v) | #NAME? |  | T2 (sat l) | #NAME? | [8 empty] | T2 (sat v) | #NAME? |  | T2 (sat l) | #NAME?
|  |  |  | H2 (sat v) | #NAME? |  | H2 (sat l) | #NAME? | [8 empty] | H2 (sat v) | #NAME? |  | H2 (sat l) | #NAME?
|  |  |  | S2 (sat v) | #NAME? |  | S2 (sat l) | #NAME? | [8 empty] | S2 (sat v) | #NAME? |  | S2 (sat l) | #NAME?
[17 empty] | v2 (sat v) | #NAME? |  | v2 (sat l) | #NAME?
[5 empty] | quality S2 | #NAME? |  |  |  | quality H2 | #NAME? | [6 empty] | quality S2 | #NAME? |  |  |  | quality H2 | #NAME?
[5 empty] | å S Values |  |  |  |  | å H Values | [7 empty] | å S Values |  |  |  |  | å H Values
|  | Turbine LP - Extraction 2 to Extraction 1 | [12 empty] | Turbine LP - Extraction 2 to Extraction 1
|  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions |  |  |  |  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions
|  | P2 LPT(real) | 18.7 | psia |  | P1 (isen) | 6.82 | psia |  | P1 (real) | 6.82 | psia |  |  | P2 LPT(real) | 7.4505 | psia |  | P1 (isen) | 2.9594 | psia |  | P1 (real) | 2.9594 | psia
|  | T2 LPT(real) | 703.67 | R |  | T1 (isen) | #NAME? | R |  | T1 (real) | #NAME? | R |  |  | T2 LPT(real) | #NAME? | R |  | T1 (isen) | #NAME? | R |  | T1 (real) | #NAME? | R
|  | H2 LPT(real) | #NAME? | Btu/lb |  | H1 (isen) | #NAME? | Btu/lb |  | H1 (real) | #NAME? | Btu/lb |  |  | H2 LPT(real) | #NAME? | Btu/lb |  | H1 (isen) | #NAME? | Btu/lb |  | H1 (real) | #NAME? | Btu/lb
|  | S2 LPT(real) | #NAME? | Btu/lb-R |  | S1 (isen) | #NAME? | Btu/lb-R |  | S1 (real) | #NAME? | Btu/lb-R |  |  | S2 LPT(real) | #NAME? | Btu/lb-R |  | S1 (isen) | #NAME? | Btu/lb-R |  | S1 (real) | #NAME? | Btu/lb-R
[10 empty] | η | #NAME? | [11 empty] | η | 0.8633
[10 empty] | v1(real) | #NAME? | ft3/lb | [10 empty] | v1(real) | #NAME? | ft3/lb
|  |  |  | sat vapor |  |  | sat liquid | [9 empty] | sat vapor |  |  | sat liquid
|  |  |  | P1 | 6.82 |  | P1 | 6.82 | [8 empty] | P1 | 2.9594 |  | P1 | 2.9594
|  |  |  | T1 (sat v) | #NAME? |  | T1 (sat l) | #NAME? | [8 empty] | T1 (sat v) | #NAME? |  | T1 (sat l) | #NAME?
|  |  |  | H1 (sat v) | #NAME? |  | H1 (sat l) | #NAME? | [8 empty] | H1 (sat v) | #NAME? |  | H1 (sat l) | #NAME?
|  |  |  | S1 (sat v) | #NAME? |  | S1 (sat l) | #NAME? | [8 empty] | S1 (sat v) | #NAME? |  | S1 (sat l) | #NAME?
|  |  |  | v1 (sat v) | #NAME? |  | v1 (sat l) | #NAME? | [8 empty] | v1 (sat v) | #NAME? |  | v1 (sat l) | #NAME?
[5 empty] | quality S1 | #NAME? |  |  |  | quality H1 | #NAME? | [6 empty] | quality S1 | #NAME? |  |  |  | quality H1 | #NAME?
[5 empty] | å S Values |  |  |  |  | å H Values | [7 empty] | å S Values |  |  |  |  | å H Values
|  | Turbine LP - Extraction 1 to Extraction 0 (Condenser) | [12 empty] | Turbine LP - Extraction 1 to Extraction 0 (Condenser)
|  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions |  |  |  |  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions
|  | P1 LPT(real) | 6.82 | psia |  | P0 (isen) | 1.23 | psia |  | P0 (real) | 1.23 | psia |  |  | P1 LPT(real) | 2.9594 | psia |  | P0 (isen) | 1.23 | psia |  | P0 (real) | 1.23 | psia
|  | T1 LPT(real) | #NAME? | R |  | T0 (isen) | #NAME? | R |  | T0 (real) | #NAME? | R |  |  | T1 LPT(real) | #NAME? | R |  | T0 (isen) | #NAME? | R |  | T0 (real) | #NAME? | R
|  | H1 LPT(real) | #NAME? | Btu/lb |  | H0 (isen) | #NAME? | Btu/lb |  | H0 (real) | #NAME? | Btu/lb |  |  | H1 LPT(real) | #NAME? | Btu/lb |  | H0 (isen) | #NAME? | Btu/lb |  | H0 (real) | #NAME? | Btu/lb
|  | S1 LPT(real) | #NAME? | Btu/lb-R |  | S0 (isen) | #NAME? | Btu/lb-R |  | S0 (real) | #NAME? | Btu/lb-R |  |  | S1 LPT(real) | #NAME? | Btu/lb-R |  | S0 (isen) | #NAME? | Btu/lb-R |  | S0 (real) | #NAME? | Btu/lb-R
[10 empty] | η | #NAME? | [11 empty] | η | 0.85975
[10 empty] | v1(real) | #NAME? | ft3/lb | [10 empty] | v0(real) | #NAME? | ft3/lb
|  |  |  | sat vapor |  |  | sat liquid | [9 empty] | sat vapor |  |  | sat liquid
|  |  |  | P0 | 1.23 |  | P0 | 1.23 | [8 empty] | P0 | 1.23 |  | P0 | 1.23
|  |  |  | T0 (sat v) | #NAME? |  | T0 (sat l) | #NAME? | [8 empty] | T0 (sat v) | #NAME? |  | T0 (sat l) | #NAME?
|  |  |  | H0 (sat v) | #NAME? |  | H0 (sat l) | #NAME? | [8 empty] | H0 (sat v) | #NAME? |  | H0 (sat l) | #NAME?
|  |  |  | S0 (sat v) | #NAME? |  | S0 (sat l) | #NAME? | [8 empty] | S0 (sat v) | #NAME? |  | S0 (sat l) | #NAME?
|  |  |  | v1 (sat v) | #NAME? |  | v1 (sat l) | #NAME? | [8 empty] | v0 (sat v) | #NAME? |  | v0 (sat l) | #NAME?
[5 empty] | quality S0 | #NAME? |  |  |  | quality H0 | #NAME? | [6 empty] | quality S0 | #NAME? |  |  |  | quality H0 | #NAME?
[5 empty] | å S Values |  |  |  |  | å H Values | [7 empty] | å S Values |  |  |  |  | å H Values
Preheat Section | [12 empty] | Preheat Section
Thermodynamic Details |  | Pressure | Temp | Δ T Approach | Flow Rate | Flow Rate | H | S |  | Specific Vol |  |  | Thermodynamic Details |  | Pressure | Temp | Δ T Approach | Flow Rate | Flow Rate | H | S |  | Specific Vol
|  | (psia) | (F) | (F) | (lb/hr) | (lb/s) | (Btu/lb) | (Btu/lb) |  | (ft3/lb) |  |  |  |  | (psia) | (F) | (F) | (lb/hr) | (lb/s) | (Btu/lb) | (Btu/lb) |  | (ft3/lb)
Feedwater Heater (7) | [12 empty] | Feedwater Heater (7)
| Condensate Inlet | 4234.9398 | #NAME? |  | 4994457 | 1387.3492 | #NAME? | [6 empty] | Condensate Inlet | 4234.8206 | #NAME? |  | 4994457 | 1387.3492 | #NAME?
| Condensate Outlet | 4234.9398 | #NAME? |  | 4994457 | 1387.3492 | #NAME? |  |  | #NAME? |  |  |  | Condensate Outlet | 4234.8206 | #NAME? |  | 4994457 | 1387.3492 | #NAME? |  |  | #NAME?
| Extraction Steam Inlet | 744 | 598.15 |  | #NAME? | #NAME? | #NAME? | [6 empty] | Extraction Steam Inlet | 737.5424 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Drain Conditions | 744 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Drain Conditions | 737.5424 | #NAME? |  | #NAME? | #NAME? | #NAME?
| TTD - thermal temperature difference |  |  | 5 | [9 empty] | TTD - thermal temperature difference |  |  | 5
| DCA - drain cooler approach |  |  | 15 | [9 empty] | DCA - drain cooler approach |  |  | 15
Feedwater Heater (6) | [12 empty] | Feedwater Heater (6)
| Condensate Inlet | 4234.9398 | #NAME? |  | 4994457 | 1387.3492 | #NAME? | [6 empty] | Condensate Inlet | 4234.8206 | #NAME? |  | 4994457 | 1387.3492 | #NAME?
| Condensate Outlet | 4234.9398 | #NAME? |  | 4994457 | 1387.3492 | #NAME? | [6 empty] | Condensate Outlet | 4234.8206 | #NAME? |  | 4994457 | 1387.3492 | #NAME?
| Extraction Steam Inlet | 307 | 782.91 |  | #NAME? | #NAME? | #NAME? | [6 empty] | Extraction Steam Inlet | 294.6301 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Drain Conditions | 307 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Drain Conditions | 294.6301 | #NAME? |  | #NAME? | #NAME? | #NAME?
| TTD - thermal temperature difference |  |  | 5 | [9 empty] | TTD - thermal temperature difference |  |  | 5
| DCA - drain cooler approach |  |  | 15 | [9 empty] | DCA - drain cooler approach |  |  | 15
Feedwater Heater (5) | [12 empty] | Feedwater Heater (5)
| Condensate Inlet | 153 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Condensate Inlet | 133.322 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Extraction Steam Inlet | 153 | 623.22 |  | #NAME? | #NAME? | #NAME? | [6 empty] | Extraction Steam Inlet | 133.322 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Drain / Condensate Out | 153 | #NAME? |  | 4994457 | 1387.3492 | #NAME? | #NAME? | [5 empty] | Drain / Condensate Out | 133.322 | #NAME? |  | 4994457 | 1387.3492 | #NAME? | #NAME?
HP Condensate Pump Isotropic |  | 4234.9398 | #NAME? |  |  |  | #NAME? | #NAME? |  |  |  |  | HP Condensate Pump Isotropic |  | 4234.8206 | #NAME? |  |  |  | #NAME? | #NAME?
HP Condensate Pump Actual |  | 4234.9398 | #NAME? |  |  |  | #NAME? | [5 empty] | HP Condensate Pump Actual |  | 4234.8206 | #NAME? |  |  |  | #NAME?
| TTD - thermal temperature difference |  |  | 0 | [9 empty] | TTD - thermal temperature difference |  |  | 0
| DCA - drain cooler approach | [12 empty] | DCA - drain cooler approach
Auxiliary Turbine |  | Auxiliary Turbine - Extraction 5 to Condenser (at 1.35 psia, 111.9F with 80 % turbine efficiency) | [10 empty] | Auxiliary Turbine |  | Auxiliary Turbine - Extraction 5 to Condenser (at 1.35 psia, 111.9F with 80 % turbine efficiency)
|  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions |  |  |  |  | Steam Inlet Conditions |  |  |  | Steam Outlet Insentropic Conditions |  |  |  | Steam Outlet Real Conditions
|  | P5 (real) | 153 | psia |  | P0-α4 (isen) | 1.35 | psia |  | P0-α4 (real) | 1.35 | psia |  |  | P5 (real) | 133.322 | psia |  | P0-α4 (isen) | 1.35 | psia |  | P0-α4 (real) | 1.35 | psia
|  | T5 (real) | 1082.89 | R |  | T0-α4 (isen) | #NAME? | R |  | T0-α4 (real) |  | R |  |  | T5 (real) | #NAME? | R |  | T0-α4 (isen) | #NAME? | R |  | T0-α4 (real) |  | R
|  | H5 (real) | #NAME? | Btu/lb |  | H0-α4 (isen) | #NAME? | Btu/lb |  | H0-α4 (real) | #NAME? | Btu/lb |  |  | H5 (real) | #NAME? | Btu/lb |  | H0-α4 (isen) | #NAME? | Btu/lb |  | H0-α4 (real) | #NAME? | Btu/lb
|  | S5 (real) | #NAME? | Btu/lb-R |  | S0-α4 (isen) | #NAME? | Btu/lb-R |  | S0-α4 (real) |  | Btu/lb-R |  |  | S5 (real) | #NAME? | Btu/lb-R |  | S0-α4 (isen) | #NAME? | Btu/lb-R |  | S0-α4 (real) |  | Btu/lb-R
[10 empty] | η | 0.8 | [11 empty] | η | 0.8
|  |  |  | sat vapor |  |  | sat liquid | [9 empty] | sat vapor |  |  | sat liquid
|  |  |  | P0-α4 | 1.35 |  | P0-α4 | 1.35 | [8 empty] | P0-α4 | 1.35 |  | P0-α4 | 1.35
|  |  |  | T0-α4 (sat v) | #NAME? |  | T0-α4 (sat l) | #NAME? | [8 empty] | T0-α4 (sat v) | #NAME? |  | T0-α4 (sat l) | #NAME?
|  |  |  | H0-α4 (sat v) | #NAME? |  | H0-α4 (sat l) | #NAME? | [8 empty] | H0-α4 (sat v) | #NAME? |  | H0-α4 (sat l) | #NAME?
|  | α2 | α2 | S0-α4 (sat v) | #NAME? |  | S0-α4 (sat l) | #NAME? | [6 empty] | α2 | α2 | S0-α4 (sat v) | #NAME? |  | S0-α4 (sat l) | #NAME?
|  | Flow Rate | Flow Rate | [11 empty] | Flow Rate | Flow Rate
| Auxiliary Turbine | (lb/hr) | (lb/s) |  | quality S0-α4 | #NAME? |  |  |  | quality H0-α4 | #NAME? |  |  |  | (lb/hr) | (lb/s) |  | quality S0-α4 | #NAME? |  |  |  | quality H0-α4 | #NAME?
| Steam Flow Rate | #NAME? | #NAME? |  | å S Values |  |  |  |  | å H Values |  |  |  | Steam Flow Rate | #NAME? | #NAME? |  | å S Values |  |  |  |  | å H Values
| Power Output | #NAME? | kW | [10 empty] | Power Output | #NAME? | kW
|  | Pressure | Temp | Δ T Approach | Flow Rate | Flow Rate | H | S | [6 empty] | Pressure | Temp | Δ T Approach | Flow Rate | Flow Rate | H | S
|  | (psia) | (F) | (F) | (lb/hr) | (lb/s) | (Btu/lb) | (Btu/lb) | [6 empty] | (psia) | (F) | (F) | (lb/hr) | (lb/s) | (Btu/lb) | (Btu/lb)
Feedwater Heater (4) | [12 empty] | Feedwater Heater (4)
| Condensate Inlet | 153 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Condensate Inlet | 133.322 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Condensate Outlet | 153 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Condensate Outlet | 133.322 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Extraction Steam Inlet | 60.6 | 435.13 |  | #NAME? | #NAME? | #NAME? | [6 empty] | Extraction Steam Inlet | 24.8411 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Drain Conditions | 60.6 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Drain Conditions | 24.8411 | #NAME? |  | #NAME? | #NAME? | #NAME?
| TTD - thermal temperature difference |  |  | 5 | [9 empty] | TTD - thermal temperature difference |  |  | 5
| DCA - drain cooler approach |  |  | 15 | [9 empty] | DCA - drain cooler approach |  |  | 15
Feedwater Heater (3) | [12 empty] | Feedwater Heater (3)
| Condensate Inlet | 153 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Condensate Inlet | 133.322 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Condensate Outlet | 153 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Condensate Outlet | 133.322 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Extraction Steam Inlet | 34.5 | 337.74 |  | #NAME? | #NAME? | #NAME? | [6 empty] | Extraction Steam Inlet | 13.7568 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Drain Conditions | 34.5 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Drain Conditions | 13.7568 | #NAME? |  | #NAME? | #NAME? | #NAME?
| TTD - thermal temperature difference |  |  | 5 | [9 empty] | TTD - thermal temperature difference |  |  | 5
| DCA - drain cooler approach |  |  | 15 | [9 empty] | DCA - drain cooler approach |  |  | 15
Feedwater Heater (2) | [12 empty] | Feedwater Heater (2)
| Condensate Inlet | 153 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Condensate Inlet | 133.322 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Condensate Outlet | 153 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Condensate Outlet | 133.322 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Extraction Steam Inlet | 18.7 | 244 |  | #NAME? | #NAME? | #NAME? | [6 empty] | Extraction Steam Inlet | 7.4505 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Drain Conditions | 18.7 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Drain Conditions | 7.4505 | #NAME? |  | #NAME? | #NAME? | #NAME?
| TTD - thermal temperature difference |  |  | 10 | [9 empty] | TTD - thermal temperature difference |  |  | 10
| DCA - drain cooler approach |  |  | 15 | [9 empty] | DCA - drain cooler approach |  |  | 15
Feedwater Heater (1) | [12 empty] | Feedwater Heater (1)
| Condensate Inlet | 153 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Condensate Inlet | 133.322 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Condensate Outlet | 153 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Condensate Outlet | 133.322 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Extraction Steam Inlet | 6.82 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Extraction Steam Inlet | 2.9594 | #NAME? |  | #NAME? | #NAME? | #NAME?
| Drain Conditions | 6.82 | #NAME? |  | #NAME? | #NAME? | #NAME? | [6 empty] | Drain Conditions | 2.9594 | #NAME? |  | #NAME? | #NAME? | #NAME?
| TTD - thermal temperature difference |  |  | 10 | [9 empty] | TTD - thermal temperature difference |  |  | 10
| DCA - drain cooler approach |  |  | 15 | [9 empty] | DCA - drain cooler approach |  |  | 15
LP Condensate Pump From Condenser |  | 1.23 | #NAME? |  |  |  | #NAME? | #NAME? |  |  |  |  | LP Condensate Pump From Condenser |  | 1.23 | #NAME? |  |  |  | #NAME? | #NAME?
LP Condensate Pump Isentropic |  | 153 | #NAME? |  |  |  | #NAME? | #NAME? |  |  |  |  | LP Condensate Pump Isentropic |  | 133.322 | #NAME? |  |  |  | #NAME? | #NAME?
LP Condensate Pump Actual |  | 153 | #NAME? |  |  |  | #NAME? | [5 empty] | LP Condensate Pump Actual |  | 133.322 | #NAME? |  |  |  | #NAME?
LP Condesate Power Required | #NAME? | kW | [10 empty] | LP Condesate Power Required | #NAME? | kW
Turbine Exhaust End Design | [12 empty] | Turbine Exhaust End Design
see Spencer et al. (1963) | [9 empty] | Sat Vapor |  |  | see Spencer et al. (1963) | [9 empty] | Sat Vapor
Here a VBA program |  | Pressure | Temp | Quality | Flow Rate | Flow Rate | Steam H | Real H |  | Specific Vol |  |  | Here a VBA program |  | Pressure | Temp | Quality | Flow Rate | Flow Rate | Steam H | Real H |  | Specific Vol
calculates exhaust lost work |  | (psia) | (F) |  | (lb/hr) | (lb/s) | (Btu/lb) | (Btu/lb) |  | (ft3/lb) |  |  | calculates exhaust lost work |  | (psia) | (F) |  | (lb/hr) | (lb/s) | (Btu/lb) | (Btu/lb) |  | (ft3/lb)
| Outlet Conditions - ELEP | 1.23 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? |  | #NAME? |  |  |  | Outlet Conditions - ELEP | 1.23 | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? | #NAME? |  | #NAME?
| Q = Condenser Flow | #NAME? | [11 empty] | Q = Condenser Flow | #NAME?
| Y = % moisture | #NAME? | [11 empty] | Y = % moisture | #NAME?
| Area Annulus(ft2) | 55.6 | [11 empty] | Area Annulus(ft2) | 55.6
| Annular Velocity (ft/s) | #NAME? | [11 empty] | Annular Velocity (ft/s) | #NAME?
| Exhaust Loss/lb dry flow | #VALUE! | Btu/lb of dry flow | [10 empty] | Exhaust Loss/lb dry flow | #VALUE! | Btu/lb of dry flow
| Exhaust loss/lb of steam | #VALUE! | Btu/lb of steam | [10 empty] | Exhaust loss/lb of steam | #VALUE! | Btu/lb of steam
| Inlet to Condensor Conditions - | [12 empty] | Inlet to Condensor Conditions -
| UEEP | 1.23 | #NAME? |  | #NAME? | #NAME? | #NAME? | #VALUE! | [5 empty] | UEEP | 1.23 | #NAME? |  | #NAME? | #NAME? | #NAME? | #NAME?
[9 empty] | Economics Design Case |  |  |  |  | Economics Off Design Case
[8 empty] | Heat Rate |  |  |  |  | Heat Rate
[8 empty] | Turbine Net Output (kW) |  |  | #NAME? |  | Turbine Net Output (kW) | #NAME?
[8 empty] | Generator Efficiency (%) |  |  | 98.5 |  | Generator Efficiency (%) | 98.5
[8 empty] | Generator Net Output (kW) |  |  | #NAME? |  | Generator Net Output (kW) | #NAME?
[8 empty] | Turbine Net Heat Rate (Btu/kW-hr) |  |  | #NAME? |  | Turbine Net Heat Rate (Btu/kW-hr) | #NAME?
[8 empty] | Boiler Efficiency (%) |  |  | 90 |  | Boiler Efficiency (%) | 90
[8 empty] | Auxiliary Power Consumption (%) |  |  | 7 |  | Auxiliary Power Consumption (%) | 7
[8 empty] | Plant Output (kW) |  |  | #NAME? |  | Plant Output (kW) | #NAME?
[8 empty] | Plant Net Heat Rate (Btu/kW-hr) |  |  | #NAME? |  | Plant Net Heat Rate (Btu/kW-hr) | #NAME?
[8 empty] | CO2 Emissions |  |  |  |  | CO2 Emissions
[8 empty] | Coal Carbon (wt%) |  |  | 71.72 |  | Coal Carbon (wt%) | 71.72
[8 empty] | Coal LHV (Btu/lb) |  |  | 12712 |  | Coal LHV (Btu/lb) | 12712
[8 empty] | Coal Required, LHV (lb/hr) |  |  | #NAME? |  | Coal Required, LHV (lb/hr) | #NAME?
[8 empty] | CO2 Produced (lb CO2/lb Coal) |  |  | 2.6281 |  | CO2 Produced (lb CO2/lb Coal) | 2.6281
[8 empty] | Total CO2 Produced (lb/hr) |  |  | #NAME? |  | Total CO2 Produced (lb/hr) | #NAME?
Levelized
[15 empty] | Annual Cost | Annual Cost/Net kW
[13 empty] | Economics |  | ($/yr) | (¢/kW-hr)
[13 empty] | Investor Discount Rate (10%) | 0.1
[13 empty] | Project Life (years) | 20
[13 empty] | Operating hours (hr/year) | 8000
Capital
[13 empty] | Total Capital Investment ($) | 700000000
[13 empty] | Capital Recovery Factor | 0.175
[13 empty] | Annualized Capital Cost |  | 122500000 | #NAME? | Capital
O&M
[13 empty] | O&M (5.33 % TCI) | 0.0533
[13 empty] | Annual O&M Cost (5.33 % TCI) | 37310000
[13 empty] | O&M escalation 1.89% | 0.0189
[13 empty] | Equivalent discount | 0.079596
[13 empty] | O&M Levelization Factor | 1.1567
[13 empty] | Levelized O&M Cost |  | 43157013.0387 | #NAME? | O&M
NG + Electricity
[13 empty] | Natural Gas (SCF/hr) | 15000
[13 empty] | Natural Gas ($/1000SCF) | 6.35
[13 empty] | Natural Gas Cost ($/yr) | 762000
[13 empty] | Sequestration Electricity (kW) | 1000
[13 empty] | Make-Up Electricity (kW) | #NAME?
[13 empty] | Electricity Cost ($/kW-hr) | 0.064
[13 empty] | Electricity Cost ($/yr) | #NAME?
[13 empty] | Fuel escalation 1.89% | 0.0198
[13 empty] | Equivalent discount | 0.078643
[13 empty] | Fuel Levelization Factor | 1.165
[13 empty] | Levelized NG + Elec Cost |  | #NAME? | #NAME? | NG +Elec
[13 empty] | Total Sequestration Cost |  | #NAME? | #NAME? | Total Sequestration Cost
[16 empty] | #NAME? | % Increase in Electricity Cost