## Sheet1
13
Data Reconciliation Solution
Data | [10 empty] | Units Used in Figure Above
lb/s
TRef | 536.67 | R | [8 empty] | deg F
PRef | 14.696 | psia | [8 empty] | psia
MWAir | 28.965 | lbs/mol | [8 empty] | LHV
MWWater | 18.0153 | lbs/mol | [8 empty] | Btu/s
MWMethane | 16.043 | lbs/lb-mol | [8 empty] | MW
1 hr = | 3600 s
1 Btu/hr = | 0.29307 W
1000 W = | 1 kW
Pressure Data |  |  |  | Theoretical Air Required |  |  |  |  | Parameters determined after data reconciliation
P0 | 14.696 | psia | [6 empty] | QAir Cooler |  | #NAME? | Btu/s | [5 empty] | Turbine Efficiency Calculations
P1 | 14.696 | psia |  | CH4 | 9.5465 |  | mole air/mole fuel |  | Net Power |  | 19269.9284 | kW
P2 | 243.7 | psia |  | DAR | 3.3565 |  |  |  | Rate Heat Addition |  | 216153417.487 | Btu/hr |  |  |  |  | Compressor |  | Gas Generating Turbine |  | Power Turbine
P3 | 243.7 | psia |  | CH4 H/C | 4 |  |  |  | Heat Rate |  | 11217.1365 | Btu/kW-hr |  |  |  | sAir,1 | #NAME? | sProd,3 | #NAME? | sProd,4 | #NAME? | Btu/lb-R
P4 | 56.9 | psia | [13 empty] | s2, isen | #NAME? | s4, isen | #NAME? | s5, isen | #NAME? | Btu/lb-R
P5 | 14.82 | psia | [6 empty] | Economizer |  |  | Evaporator |  |  |  | T2, isen | #NAME? | T4, isen | #NAME? | T5, isen | #NAME? | R
P6 | 14.82 | psia | [6 empty] | AEcon | 10565 | ft2 | AEvap | 56248 | ft2 |  | h2, isen | #NAME? | h4, isen | #NAME? | h5, isen | #NAME? | Btu/lb
P7 | 14.82 | psia | [6 empty] | ΔTLMTD | 159.4323 | R | ΔTLMTD | 311.7852 | R |  | ηCompressor | #NAME? | ηGas Turbine | #NAME? | η Power Turbine | #NAME?
PCWa | 60 | psia | [6 empty] | QEcon | #NAME? | Btu/s | Qevap | #NAME? | Btu/s
PCWb | 60 | psia | [6 empty] | UEcon | #NAME? | Btu/hr-ft2-R | UEvap | #NAME? | Btu/hr-ft2-R
PEcon | 239 | psia
PEvap | 198 | psia | [6 empty] | ΔTPinch | 89.1365 | R
PSteam | 140.9 | psia | [6 empty] | ΔTApproach | 43.2472 | R
Data Reconciliation Problem
These two cells are only used in the figure above and with the Macro - Write Data Recon Values
| 19.27 | 19.27
Variables | Measured | Reconciled | St. Dev | OBJ | MT Error | hReconciled |  |  | Material Balances (lb/s)
FAir | 145 | 163.4033 | 20 | 0.8467 | 0.95191 | [5 empty] | IN | OUT | DIFF
FNG | 3.0208 | 2.8244 | 0.07 | 7.8681 | 4.1375 |  |  |  | Combustion Chamber |  | 166.2277 | 166.2277 | -2.7455e-11
FProd | 147.6208 | 166.2277 | 20 | 0.86554 | 0.96287 |  |  |  | HRSG |  | 25.2651 | 25.2651 | 0
FWater, Econ | 24.4444 | 25.2651 | 1.2222 | 0.45091 | 0.76354
FSteam | 24.17 | 24.9844 | 0.725 | 1.2619 | 1.8576
FBlowdown | 0.28 | 0.28067 | 0.1 | 4.5377e-05 | 0.095405 |  |  |  | Energy Balances (Btu/s)
FCW | 200 | 199.3004 | 44 | 0.00025278 | 0.089209 | [5 empty] | IN | OUT | DIFF
T0 | 547.17 | 547.2509 | 2 | 0.0016354 | 0.74818 | #NAME? | hAir,0 |  | Air Cooler |  | #NAME? | #NAME? | #NAME?
T1 | 519.94 | 517.372 | 5 | 0.26379 | 3.1681 | #NAME? | hAir,1 |  | Compressor/GGT |  | #NAME? | #NAME? | #NAME?
T2 | 1260.48 | 1260.2859 | 10 | 0.00037659 | 0.34934 | #NAME? | hAir,2 |  | Combustion |  | #NAME? | #NAME? | #NAME?
T3 | 2400 | 2436.5984 | 150 | 0.059531 | 0.24788 | #NAME? | hProd,3 |  | Power Turbine |  | #NAME? | #NAME? | #NAME?
T4 | 1836.34 | 1822.5512 | 30 | 0.21126 | 0.96104 | #NAME? | hProd,4 |  | Evap |  | #NAME? | #NAME? | #NAME?
T5 | 1386.67 | 1429.0617 | 60 | 0.49918 | 0.74575 | #NAME? | hProd,5 |  | Eco |  | #NAME? | #NAME? | #NAME?
T6 | 914.67 | 910.8332 | 50 | 0.0058885 | 0.086963 | #NAME? | hProd,6
T7 | 787.67 | 822.3325 | 20 | 3.0037 | 3.4043 | #NAME? | hProd,7
TCWa | 504.57 | 506.8431 | 5 | 0.20668 | 0.66038 | #NAME? | hCW,a
TCWb | 515.07 | 512.7088 | 5 | 0.22301 | 0.68659 | #NAME? | hCW,b
LHV | 21501 | 21258.1697 | 200 | 1.4742 | 4.7147
TWater, Econ | 677.67 | 632.3966 | 30 | 2.2774 | 3.2846 | #NAME? | hWater, Econ
TWater, Evap | 780.67 | 778.4494 | 30 | 0.0054789 | 0.22653 | #NAME? | hWater, Evap
TSteam | 821.67 | 821.6967 | 1 | 0.00071029 | 2.9567 | #NAME? | hWater,BlowD
WNet | 18264.44 | 18264.4347 | 0.01 | 0.27657 |  | #NAME? | hSteam
QCC,loss | 1125 | 2610.3969 | 1000 | 2.2064 |  |  |  |  | Chiinv (0.05,8)
|  |  |  | 22.0093 | ΣOBJ |  |  |  | 15.5073
Newton Raphson Method to determine coeficients
| x(0) | x(1) | x(2) | x(3) | x(4) | x(5) | x(6) | x(7) | x(8) | x(9) | x(10) | x(11) | x(12) | x(13) | x(14) | x(15) | x(16) | x(17) | x(18) | x(19) | x(20)
| FAir | FNG | FProd | FWater, Econ | FSteam | FBlowdown | FCW | T0 | T1 | T2 | T3 | T4 | T5 | T6 | T7 | TCWa | TCWb | LHV | TWater, Econ | TWater, Evap | TSteam | RHS
| 1 | [20 empty] | 163.4033 | x(0) | FAir
|  | 1 | [19 empty] | 2.8244 | x(1) | FNG
|  |  | 1 | [18 empty] | 166.2277 | x(2) | FProd
|  |  |  | 1 | [17 empty] | 25.2651 | x(3) | FWater, Econ
[5 empty] | 1 | [16 empty] | 24.9844 | x(4) | FSteam
[6 empty] | 1 | [15 empty] | 0.28067 | x(5) | FBlowdown
[7 empty] | 1 | [14 empty] | 199.3004 | x(6) | FCW
[22 empty] | 547.2509 | x(7) | T0 | bar: Newton Raphson Method to determine coeficients x(7) T0
[22 empty] | 517.372 | x(8) | T1 | bar: Newton Raphson Method to determine coeficients x(8) T1
[22 empty] | 1260.2859 | x(9) | T2 | bar: Newton Raphson Method to determine coeficients x(9) T2
[22 empty] | 2436.5984 | x(10) | T3 | bar: Newton Raphson Method to determine coeficients x(10) T3
[22 empty] | 1822.5512 | x(11) | T4 | bar: Newton Raphson Method to determine coeficients x(11) T4
[22 empty] | 1429.0617 | x(12) | T5 | bar: Newton Raphson Method to determine coeficients x(12) T5
[22 empty] | 910.8332 | x(13) | T6 | bar: Newton Raphson Method to determine coeficients x(13) T6
[22 empty] | 822.3325 | x(14) | T7 | bar: Newton Raphson Method to determine coeficients x(14) T7
[16 empty] | 1 | [5 empty] | 506.8431 | x(15) | TCWa
[17 empty] | 1 |  |  |  |  | 512.7088 | x(16) | TCWb
[18 empty] | 1 |  |  |  | 21258.1697 | x(17) | LHV
[19 empty] | 1 |  |  | 632.3966 | x(18) | TWater, Econ
[20 empty] | 1 |  | 778.4494 | x(19) | TWater, Evap
[21 empty] | 1 | 821.6967 | x(20) | TSteam
| 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 163.4033 | x(0) | FAir
| 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8244 | x(1) | FNG
| 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 166.2277 | x(2) | FProd
| 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25.2651 | x(3) | FWater, Econ
| 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24.9844 | x(4) | FSteam
| 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28067 | x(5) | FBlowdown
| 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 199.3004 | x(6) | FCW
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 547.2509 | x(7) | T0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 517.372 | x(8) | T1
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1260.2859 | x(9) | T2
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2436.5984 | x(10) | T3
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1822.5512 | x(11) | T4
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1429.0617 | x(12) | T5
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 910.8332 | x(13) | T6
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 822.3325 | x(14) | T7
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 506.8431 | x(15) | TCWa
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 512.7088 | x(16) | TCWb
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 21258.1697 | x(17) | LHV
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 632.3966 | x(18) | TWater, Econ
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 778.4494 | x(19) | TWater, Evap
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 821.6967 | x(20) | TSteam
Coefficients for nonlinear equations
| 1 | [20 empty] | 163.4033
|  | 1 | [19 empty] | 2.8244
|  |  | 1 | [18 empty] | 166.2277
|  |  |  | 1 | [17 empty] | 25.2651
[5 empty] | 1 | [16 empty] | 24.9844
[6 empty] | 1 | [15 empty] | 0.28067
[7 empty] | 1 | [14 empty] | 199.3004
547.2509 | bar: Newton Raphson Method to determine coeficients x(7) T0
517.372 | bar: Newton Raphson Method to determine coeficients x(8) T1
1260.2859 | bar: Newton Raphson Method to determine coeficients x(9) T2
2436.5984 | bar: Newton Raphson Method to determine coeficients x(10) T3
1822.5512 | bar: Newton Raphson Method to determine coeficients x(11) T4
1429.0617 | bar: Newton Raphson Method to determine coeficients x(12) T5
910.8332 | bar: Newton Raphson Method to determine coeficients x(13) T6
822.3325 | bar: Newton Raphson Method to determine coeficients x(14) T7
| 7.1762 | 0 | 0 | 0 | 0 | 0 | -5.8836 | 39.2561 | -39.2362 | 0 | 0 | 0 | 0 | 0 | 0 | 199.9927 | -199.8173 | 0 | 0 | 0 | 0 | 100.0965
| 183.1929 | 0 | -179.6916 | 0 | 0 | 0 | 0 | 0 | -39.2362 | 42.0363 | -49.6569 | 47.2974 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2114.0333
| 178.5584 | 21258.1697 | -519.9985 | 0 | 0 | 0 | 0 | 0 | 0 | 42.0363 | -49.6569 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8244 | 0 | 0 | 0 | -5363.239
| 0 | 0 | 109.6578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47.2974 | -45.2611 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3256.5819
| 0 | 0 | 136.5312 | 0 | -909.5499 | -45.1429 | 0 | 0 | 0 | 0 | 0 | 0 | 45.2611 | -42.4002 | 0 | 0 | 0 | 0 | 0 | 26.1676 | -15.2436 | 33905.8719
| 0 | 0 | 22.4715 | -148.1078 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42.4002 | -42.0277 | 0 | 0 | 0 | 25.286 | -26.1676 | 0 | -320.5568
Gross Error Detection
Q
| FAir | FNG | FProd | FWater, Econ | FSteam | FBlowdown | FCW | T0 | T1 | T2 | T3 | T4 | T5 | T6 | T7 | TCWa | TCWb | LHV | TWater, Econ | TWater, Evap | TSteam
| 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0.0049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 1.4938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0.52563 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 1936 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 400 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40000 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 900 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 900 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Q_INV
| 0.0025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 204.0816 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0.0025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0.66945 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 1.9025 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0.00051653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4444e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0011111 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00027778 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0004 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0025 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.04 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.5e-05 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0011111 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0011111 | 0
| 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
|  |  | Measured |  |  | Adj |  | Q T2: Reconciled
|  | FAir | 145 |  |  | -18.4033 |  | T0: FAir; Q T2: 163.4033
|  | FNG | 3.0208 |  |  | 0.19635 |  | T0: FNG; Q T2: 2.8244
|  | FProd | 147.6208 |  |  | -18.6069 |  | T0: FProd; Q T2: 166.2277
|  | FWater, Econ | 24.4444 |  |  | -0.8207 |  | T0: FWater, Econ; Q T2: 25.2651
|  | FSteam | 24.17 |  |  | -0.81443 |  | T0: FSteam; Q T2: 24.9844
|  | FBlowdown | 0.28 |  |  | -0.00067362 |  | T0: FBlowdown; Q T2: 0.28067
|  | FCW | 200 |  |  | 0.69956 |  | T0: FCW; Q T2: 199.3004
|  | T0 | 547.17 |  |  | -0.080879 |  | T0: T0; Q T2: 547.2509
|  | T1 | 519.94 |  |  | 2.568 |  | T0: T1; Q T2: 517.372
|  | T2 | 1260.48 |  |  | 0.19406 |  | T0: T2; Q T2: 1260.2859
|  | T3 | 2400 |  |  | -36.5984 |  | T0: T3; Q T2: 2436.5984
|  | T4 | 1836.34 |  |  | 13.7888 |  | T0: T4; Q T2: 1822.5512
|  | T5 | 1386.67 |  |  | -42.3917 |  | T0: T5; Q T2: 1429.0617
|  | T6 | 914.67 |  |  | 3.8368 |  | T0: T6; Q T2: 910.8332
|  | T7 | 787.67 |  |  | -34.6625 |  | T0: T7; Q T2: 822.3325
|  | TCWa | 504.57 |  |  | -2.2731 |  | T0: TCWa; Q T2: 506.8431
|  | TCWb | 515.07 |  |  | 2.3612 |  | T0: TCWb; Q T2: 512.7088
|  | LHV | 21501 |  |  | 242.8303 |  | T0: LHV; Q T2: 21258.1697
|  | TWater, Econ | 677.67 |  |  | 45.2734 |  | T0: TWater, Econ; Q T2: 632.3966
|  | TWater, Evap | 780.67 |  |  | 2.2206 |  | T0: TWater, Evap; Q T2: 778.4494
|  | TSteam | 821.67 |  |  | -0.026651 |  | T0: TSteam; Q T2: 821.6967
AdjT
| -18.4033 | 0.19635 | -18.6069 | -0.8207 | -0.81443 | -0.00067362 | 0.69956 | -0.080879 | 2.568 | 0.19406 | -36.5984 | 13.7888 | -42.3917 | 3.8368 | -34.6625 | -2.2731 | 2.3612 | 242.8303 | 45.2734 | 2.2206 | -0.026651
AdjTQ_INV
| -0.046008 | 40.0716 | -0.046517 | -0.54942 | -1.5494 | -0.067362 | 0.00036134 | -0.02022 | 0.10272 | 0.0019406 | -0.0016266 | 0.015321 | -0.011775 | 0.0015347 | -0.086656 | -0.090923 | 0.094449 | 0.0060708 | 0.050304 | 0.0024673 | -0.026651
GT
[5 empty] | Obj Fcn |  |  | T1: CHIINV(0.05,8)
[5 empty] | 19.5263 |  |  | T1: 15.5073
Note that 2 variables have been used as know "leaks"
A
| FAir | FNG | FProd | FWater, Econ | FSteam | FBlowdown | FCW | T0 | T1 | T2 | T3 | T4 | T5 | T6 | T7 | TCWa | TCWb | LHV | TWater, Econ | TWater, Evap | TSteam
| 1 | 1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 1 | -1 | -1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7.1762 | 0 | 0 | 0 | 0 | 0 | -5.8836 | 39.2561 | -39.2362 | 0 | 0 | 0 | 0 | 0 | 0 | 199.9927 | -199.8173 | 0 | 0 | 0 | 0
| 183.1929 | 0 | -179.6916 | 0 | 0 | 0 | 0 | 0 | -39.2362 | 42.0363 | -49.6569 | 47.2974 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 178.5584 | 21258.1697 | -519.9985 | 0 | 0 | 0 | 0 | 0 | 0 | 42.0363 | -49.6569 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8244 | 0 | 0 | 0
| 0 | 0 | 109.6578 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47.2974 | -45.2611 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 136.5312 | 0 | -909.5499 | -45.1429 | 0 | 0 | 0 | 0 | 0 | 0 | 45.2611 | -42.4002 | 0 | 0 | 0 | 0 | 0 | 26.1676 | -15.2436
| 0 | 0 | 22.4715 | -148.1078 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42.4002 | -42.0277 | 0 | 0 | 0 | 25.286 | -26.1676 | 0
AQ
| 400 | 0.0049 | -400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 1.4938 | -0.52563 | -0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2870.4711 | 0 | 0 | 0 | 0 | 0 | -11390.7153 | 157.0245 | -980.904 | 0 | 0 | 0 | 0 | 0 | 0 | 4999.8177 | -4995.4325 | 0 | 0 | 0 | 0
| 73277.141 | 0 | -71876.6253 | 0 | 0 | 0 | 0 | 0 | -980.904 | 4203.632 | -1117281.3062 | 42567.6464 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 71423.3466 | 104.165 | -207999.4024 | 0 | 0 | 0 | 0 | 0 | 0 | 4203.632 | -1117281.3062 | 0 | 0 | 0 | 0 | 0 | 0 | 112977.9607 | 0 | 0 | 0
| 0 | 0 | 43863.1279 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42567.6465 | -162939.9273 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 54612.4638 | 0 | -478.0822 | -0.45143 | 0 | 0 | 0 | 0 | 0 | 0 | 162939.9273 | -106000.4834 | 0 | 0 | 0 | 0 | 0 | 23550.8193 | -15.2436
| 0 | 0 | 8988.609 | -221.2394 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106000.4834 | -16811.0655 | 0 | 0 | 0 | 22757.4127 | -23550.8193 | 0
AT
|  |  |  | 1 | 0 | 7.1762 | 183.1929 | T0: 178.5584; T1: 0; T2: 0; T3: 0
|  |  |  | 1 | 0 | 0 | 0 | T0: 21258.1697; T1: 0; T2: 0; T3: 0
|  |  |  | -1 | 0 | 0 | -179.6916 | T0: -519.9985; T1: 109.6578; T2: 136.5312; T3: 22.4715
|  |  |  | 0 | 1 | 0 | 0 | T0: 0; T1: 0; T2: 0; T3: -148.1078
|  |  |  | 0 | -1 | 0 | 0 | T0: 0; T1: 0; T2: -909.5499; T3: 0
|  |  |  | 0 | -1 | 0 | 0 | T0: 0; T1: 0; T2: -45.1429; T3: 0
|  |  |  | 0 | 0 | -5.8836 | 0 | T0: 0; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | 39.2561 | 0 | T0: 0; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | -39.2362 | -39.2362 | T0: 0; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | 0 | 42.0363 | T0: 42.0363; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | 0 | -49.6569 | T0: -49.6569; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | 0 | 47.2974 | T0: 0; T1: 47.2974; T2: 0; T3: 0
|  |  |  | 0 | 0 | 0 | 0 | T0: 0; T1: -45.2611; T2: 45.2611; T3: 0
|  |  |  | 0 | 0 | 0 | 0 | T0: 0; T1: 0; T2: -42.4002; T3: 42.4002
|  |  |  | 0 | 0 | 0 | 0 | T0: 0; T1: 0; T2: 0; T3: -42.0277
|  |  |  | 0 | 0 | 199.9927 | 0 | T0: 0; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | -199.8173 | 0 | T0: 0; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | 0 | 0 | T0: 2.8244; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | 0 | 0 | T0: 0; T1: 0; T2: 0; T3: 25.286
|  |  |  | 0 | 0 | 0 | 0 | T0: 0; T1: 0; T2: 26.1676; T3: -26.1676
|  |  |  | 0 | 0 | 0 | 0 | T0: 0; T1: 0; T2: -15.2436; T3: 0
QAT
|  |  |  | 400 | 0 | 2870.4711 | 73277.141 | T0: 71423.3466; T1: 0; T2: 0; T3: 0
|  |  |  | 0.0049 | 0 | 0 | 0 | T0: 104.165; T1: 0; T2: 0; T3: 0
|  |  |  | -400 | 0 | 0 | -71876.6253 | T0: -207999.4024; T1: 43863.1279; T2: 54612.4638; T3: 8988.609
|  |  |  | 0 | 1.4938 | 0 | 0 | T0: 0; T1: 0; T2: 0; T3: -221.2394
|  |  |  | 0 | -0.52563 | 0 | 0 | T0: 0; T1: 0; T2: -478.0822; T3: 0
|  |  |  | 0 | -0.01 | 0 | 0 | T0: 0; T1: 0; T2: -0.45143; T3: 0
|  |  |  | 0 | 0 | -11390.7153 | 0 | T0: 0; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | 157.0245 | 0 | T0: 0; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | -980.904 | -980.904 | T0: 0; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | 0 | 4203.632 | T0: 4203.632; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | 0 | -1117281.3062 | T0: -1117281.3062; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | 0 | 42567.6464 | T0: 0; T1: 42567.6465; T2: 0; T3: 0
|  |  |  | 0 | 0 | 0 | 0 | T0: 0; T1: -162939.9273; T2: 162939.9273; T3: 0
|  |  |  | 0 | 0 | 0 | 0 | T0: 0; T1: 0; T2: -106000.4834; T3: 106000.4834
|  |  |  | 0 | 0 | 0 | 0 | T0: 0; T1: 0; T2: 0; T3: -16811.0655
|  |  |  | 0 | 0 | 4999.8177 | 0 | T0: 0; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | -4995.4325 | 0 | T0: 0; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | 0 | 0 | T0: 112977.9607; T1: 0; T2: 0; T3: 0
|  |  |  | 0 | 0 | 0 | 0 | T0: 0; T1: 0; T2: 0; T3: 22757.4127
|  |  |  | 0 | 0 | 0 | 0 | T0: 0; T1: 0; T2: 23550.8193; T3: -23550.8193
|  |  |  | 0 | 0 | 0 | 0 | T0: 0; T1: 0; T2: -15.2436; T3: 0
AQAT
|  |  |  | 800.0049 | 0 | 2870.4711 | 145153.7664 | T0: 279526.914; T1: -43863.1279; T2: -54612.4638; T3: -8988.609
|  |  |  | 0 | 2.0294 | 0 | 0 | T0: 0; T1: 0; T2: 478.5336; T3: -221.2394
|  |  |  | 2870.4711 | 0 | 2130369.7891 | 564336.6998 | T0: 512546.6372; T1: 0; T2: 0; T3: 0
|  |  |  | 145153.7664 | 0 | 564336.6998 | 84048780.6861 | T0: 106117468.1452; T1: -5868495.6714; T2: -9813398.9891; T3: -1615177.1991
|  |  |  | 279526.914 | 0 | 512546.6372 | 106117468.1452 | T0: 179103556.7542; T1: -22808760.9946; T2: -28398399.5648; T3: -4674063.2394
|  |  |  | -43863.1279 | 0 | 0 | -5868495.6714 | T0: -22808760.9946; T1: 14198112.2095; T2: -1386155.1532; T3: 985671.2641
|  |  |  | -54612.4638 | 478.5336 | 0 | -9813398.9891 | T0: -28398399.5648; T1: -1386155.1532; T2: 20376943.1016; T3: -3883483.6623
|  |  |  | -8988.609 | -221.2394 | 0 | -1615177.1991 | T0: -4674063.2394; T1: 985671.2641; T2: -3883483.6623; T3: 6627437.9496
IAQAT
|  |  |  | 0.0029964 | -0.00069955 | -3.1988e-06 | -5.2821e-07 | T0: -2.9041e-06; T1: 4.5658e-06; T2: 4.8203e-06; T3: 4.0093e-06
|  |  |  | -0.00069955 | 0.50259 | -5.7081e-09 | 3.5033e-05 | T0: -3.4631e-05; T1: -4.6803e-05; T2: -5.2839e-05; T3: -2.4058e-05
|  |  |  | -3.1988e-06 | -5.7081e-09 | 4.7394e-07 | -9.2883e-09 | T0: 9.26e-09; T1: 1.1645e-09; T2: -1.2202e-10; T3: -3.1628e-10
|  |  |  | -5.2821e-07 | 3.5033e-05 | -9.2883e-09 | 2.2752e-07 | T0: -2.0894e-07; T1: -2.5306e-07; T2: -2.379e-07; T3: -1.9322e-07
|  |  |  | -2.9041e-06 | -3.4631e-05 | 9.26e-09 | -2.0894e-07 | T0: 2.0783e-07; T1: 2.4822e-07; T2: 2.3545e-07; T3: 1.9161e-07
|  |  |  | 4.5658e-06 | -4.6803e-05 | 1.1645e-09 | -2.5306e-07 | T0: 2.4822e-07; T1: 3.9222e-07; T2: 3.1008e-07; T3: 2.4139e-07
|  |  |  | 4.8203e-06 | -5.2839e-05 | -1.2202e-10 | -2.379e-07 | T0: 2.3545e-07; T1: 3.1008e-07; T2: 3.4966e-07; T3: 2.7162e-07
|  |  |  | 4.0093e-06 | -2.4058e-05 | -3.1628e-10 | -1.9322e-07 | T0: 1.9161e-07; T1: 2.4139e-07; T2: 2.7162e-07; T3: 3.6683e-07
IAQATAQ
| 0.94327 | -0.00028782 | -0.057014 | -0.001932 | -0.0019368 | 4.8194e-06 | 0.036437 | -0.00050229 | 0.0036559 | -0.014428 | 3.8348 | 0.17187 | 0.041469 | -0.085966 | -0.067401 | -0.015993 | 0.015979 | -0.3281 | 0.091241 | 0.0191 | -7.3479e-05
| -0.18621 | -0.0036108 | -0.18982 | 0.75608 | -0.23891 | -0.0050021 | 6.5019e-05 | -8.9631e-07 | -0.034358 | 0.0016882 | -0.44872 | -0.50104 | -0.98347 | 3.0508 | 0.40444 | -2.8539e-05 | 2.8514e-05 | -3.9125 | -0.5475 | -0.67781 | 0.00080546
| 6.1681e-05 | 9.489e-07 | 6.263e-05 | 6.1448e-08 | 6.1336e-08 | 1.1216e-10 | -0.0053986 | 7.4421e-05 | -0.00045578 | -1.1879e-07 | 3.1572e-05 | -0.00034581 | -0.00020963 | -2.0592e-05 | 5.3171e-06 | 0.0023696 | -0.0023676 | 0.0010462 | -7.1978e-06 | 4.5751e-06 | 1.86e-09
| 0.0015105 | -2.1767e-05 | 0.0014887 | 9.5079e-05 | 9.5322e-05 | -2.4293e-07 | 0.0001058 | -1.4585e-06 | -0.00021406 | 7.8082e-05 | -0.020753 | -0.0010874 | 0.0024706 | 0.0047359 | 0.0032483 | -4.644e-05 | 4.6399e-05 | -0.023606 | -0.0043973 | -0.0010522 | 3.6265e-06
| -0.0016018 | 2.1634e-05 | -0.0015802 | -9.4122e-05 | -9.4362e-05 | 2.4002e-07 | -0.00010548 | 1.4541e-06 | 0.00019587 | -4.6754e-06 | 0.0012427 | 0.0016721 | -0.0020811 | -0.0046474 | -0.0032211 | 4.6298e-05 | -4.6258e-05 | 0.02348 | 0.0043605 | 0.0010325 | -3.5891e-06
| 0.0010149 | 2.5879e-05 | 0.0010407 | -0.00012332 | -0.00012365 | 3.2805e-07 | -1.3265e-05 | 1.8286e-07 | 0.00024709 | -2.0345e-05 | 0.0054074 | 0.0059234 | -0.013383 | -0.0072821 | -0.004058 | 5.8224e-06 | -5.8173e-06 | 0.028044 | 0.0054933 | 0.0016179 | -4.7268e-06
| 0.0013118 | 2.4549e-05 | 0.0013363 | -0.00013902 | -0.00013939 | 3.7054e-07 | 1.3899e-06 | -1.916e-08 | 0.00023348 | -1.0298e-05 | 0.0027371 | 0.0030727 | 0.0064485 | -0.0082721 | -0.0045663 | -6.1008e-07 | 6.0954e-07 | 0.026601 | 0.0061814 | 0.0018379 | -5.3301e-06
| 0.0011293 | 1.9979e-05 | 0.0011493 | -0.00011709 | -0.00011721 | 1.1796e-07 | 3.6027e-06 | -4.9664e-08 | 0.00018984 | -6.7885e-06 | 0.0018043 | 0.0020502 | 0.0049268 | 0.010092 | -0.0061668 | -1.5814e-06 | 1.58e-06 | 0.021648 | 0.0083481 | -0.0022422 | -4.1405e-06
QATIAQATAQ or V
| 373.7648 | -0.16223 | -26.3974 | -0.52799 | -0.52926 | 0.0012699 | -0.70259 | 0.0096855 | -1.5422 | -0.38384 | 102.0215 | 107.4988 | 48.3799 | -19.3451 | -18.9843 | 0.3084 | -0.30813 | -180.9705 | 25.6993 | 4.298 | -0.019996
| -0.16223 | 0.0022521 | -0.16488 | -0.0098137 | -0.0098387 | 2.5025e-05 | -0.010809 | 0.000149 | 0.020421 | -0.00055771 | 0.14823 | 0.17502 | -0.21658 | -0.48451 | -0.33586 | 0.0047443 | -0.0047401 | 2.4442 | 0.45466 | 0.10765 | -0.00037422
| -26.3974 | -0.16488 | 373.4377 | -0.5378 | -0.5391 | 0.0012949 | -0.7134 | 0.0098345 | -1.5217 | -0.3844 | 102.1698 | 107.6738 | 48.1633 | -19.8297 | -19.3201 | 0.31314 | -0.31287 | -178.5263 | 26.154 | 4.4057 | -0.02037
| -0.52799 | -0.0098137 | -0.5378 | 1.1553 | -0.33095 | -0.0074981 | -0.00069994 | 9.6488e-06 | -0.093324 | 0.0040237 | -1.0695 | -1.202 | -2.5591 | 2.3244 | 1.9685 | 0.00030723 | -0.00030696 | -10.6337 | -2.6648 | -0.51643 | 0.0021192
| -0.52926 | -0.0098387 | -0.5391 | -0.33095 | 0.19222 | 0.0024521 | -0.00069866 | 9.6312e-06 | -0.093562 | 0.004036 | -1.0727 | -1.2056 | -2.566 | 2.3512 | 1.9705 | 0.00030667 | -0.0003064 | -10.6608 | -2.6674 | -0.52238 | 0.0021249
| 0.0012699 | 2.5025e-05 | 0.0012949 | -0.0074981 | 0.0024521 | 4.9854e-05 | -1.2776e-06 | 1.7613e-08 | 0.00023818 | -1.2234e-05 | 0.0032516 | 0.0036233 | 0.0069236 | -0.026773 | -0.0019831 | 5.608e-07 | -5.6031e-07 | 0.027117 | 0.0026845 | 0.0059484 | -5.6484e-06
| -0.70259 | -0.010809 | -0.7134 | -0.00069994 | -0.00069866 | -1.2776e-06 | 61.4936 | -0.84771 | 5.1917 | 0.0013531 | -0.35963 | 3.939 | 2.3878 | 0.23456 | -0.060565 | -26.9919 | 26.9682 | -11.9167 | 0.081988 | -0.052113 | -2.1187e-05
| 0.0096855 | 0.000149 | 0.0098345 | 9.6488e-06 | 9.6312e-06 | 1.7613e-08 | -0.84771 | 0.011686 | -0.071569 | -1.8652e-05 | 0.0049576 | -0.054301 | -0.032917 | -0.0032335 | 0.00083491 | 0.37209 | -0.37176 | 0.16428 | -0.0011302 | 0.0007184 | 2.9207e-07
| -1.5422 | 0.020421 | -1.5217 | -0.093324 | -0.093562 | 0.00023818 | 5.1917 | -0.071569 | 0.65705 | -0.076475 | 20.3261 | 1.4059 | -2.2178 | -4.6252 | -3.1915 | -2.2788 | 2.2768 | 22.129 | 4.3204 | 1.0276 | -0.0035591
| -0.38384 | -0.00055771 | -0.3844 | 0.0040237 | 0.004036 | -1.2234e-05 | 0.0013531 | -1.8652e-05 | -0.076475 | 0.30857 | -82.0159 | 2.4577 | 1.637 | 0.37202 | 0.11412 | -0.00059391 | 0.00059338 | -0.52822 | -0.15449 | -0.082655 | 0.00015698
| 102.0215 | 0.14823 | 102.1698 | -1.0695 | -1.0727 | 0.0032516 | -0.35963 | 0.0049576 | 20.3261 | -82.0159 | 21798.9653 | -653.2422 | -435.0963 | -98.8798 | -30.3325 | 0.15785 | -0.15772 | 140.3957 | 41.0615 | 21.9688 | -0.041724
| 107.4988 | 0.17502 | 107.6738 | -1.202 | -1.2056 | 0.0036233 | 3.939 | -0.054301 | 1.4059 | 2.4577 | -653.2422 | 205.858 | -464.5012 | -108.3889 | -34.4653 | -1.729 | 1.7275 | 188.9093 | 46.6562 | 24.0815 | -0.046839
| 48.3799 | -0.21658 | 48.1633 | -2.5591 | -2.566 | 0.0069236 | 2.3878 | -0.032917 | -2.2178 | 1.637 | -435.0963 | -464.5012 | 3231.2902 | -161.3083 | -82.8244 | -1.0481 | 1.0472 | -235.1222 | 112.1207 | 35.8389 | -0.098299
| -19.3451 | -0.48451 | -19.8297 | 2.3244 | 2.3512 | -0.026773 | 0.23456 | -0.0032335 | -4.6252 | 0.37202 | -98.8798 | -108.3889 | -161.3083 | 1946.5892 | -169.6545 | -0.10296 | 0.10287 | -525.0499 | 229.6641 | -432.4864 | 0.1261
| -18.9843 | -0.33586 | -19.3201 | 1.9685 | 1.9705 | -0.0019831 | -0.060565 | 0.00083491 | -3.1915 | 0.11412 | -30.3325 | -34.4653 | -82.8244 | -169.6545 | 103.67 | 0.026584 | -0.026561 | -363.9182 | -140.3397 | 37.6933 | 0.069606
| 0.3084 | 0.0047443 | 0.31314 | 0.00030723 | 0.00030667 | 5.608e-07 | -26.9919 | 0.37209 | -2.2788 | -0.00059391 | 0.15785 | -1.729 | -1.0481 | -0.10296 | 0.026584 | 11.8478 | -11.8374 | 5.2307 | -0.035988 | 0.022875 | 9.2998e-06
| -0.30813 | -0.0047401 | -0.31287 | -0.00030696 | -0.0003064 | -5.6031e-07 | 26.9682 | -0.37176 | 2.2768 | 0.00059338 | -0.15772 | 1.7275 | 1.0472 | 0.10287 | -0.026561 | -11.8374 | 11.827 | -5.2261 | 0.035956 | -0.022855 | -9.2916e-06
| -180.9705 | 2.4442 | -178.5263 | -10.6337 | -10.6608 | 0.027117 | -11.9167 | 0.16428 | 22.129 | -0.52822 | 140.3957 | 188.9093 | -235.1222 | -525.0499 | -363.9182 | 5.2307 | -5.2261 | 2652.7558 | 492.6419 | 116.6538 | -0.40549
| 25.6993 | 0.45466 | 26.154 | -2.6648 | -2.6674 | 0.0026845 | 0.081988 | -0.0011302 | 4.3204 | -0.15449 | 41.0615 | 46.6562 | 112.1207 | 229.6641 | -140.3397 | -0.035988 | 0.035956 | 492.6419 | 189.9802 | -51.026 | -0.094227
| 4.298 | 0.10765 | 4.4057 | -0.51643 | -0.52238 | 0.0059484 | -0.052113 | 0.0007184 | 1.0276 | -0.082655 | 21.9688 | 24.0815 | 35.8389 | -432.4864 | 37.6933 | 0.022875 | -0.022855 | 116.6538 | -51.026 | 96.0883 | -0.028016
| -0.019996 | -0.00037422 | -0.02037 | 0.0021192 | 0.0021249 | -5.6484e-06 | -2.1187e-05 | 2.9207e-07 | -0.0035591 | 0.00015698 | -0.041724 | -0.046839 | -0.098299 | 0.1261 | 0.069606 | 9.2998e-06 | -9.2916e-06 | -0.40549 | -0.094227 | -0.028016 | 8.125e-05
Measurement Test Statistics
[7 empty] | MTi | T0: Confidence Level
[6 empty] | FAir | 0.95191
[6 empty] | FNG | 4.1375 | T0: suspect
[6 empty] | FProd | 0.96287
[6 empty] | FWater, Econ | 0.76354
[6 empty] | FSteam | 1.8576
[6 empty] | FBlowdown | 0.095405
[6 empty] | FCW | 0.089209
[6 empty] | T0 | 0.74818
[6 empty] | T1 | 3.1681
[6 empty] | T2 | 0.34934
[6 empty] | T3 | 0.24788
[6 empty] | T4 | 0.96104
[6 empty] | T5 | 0.74575
[6 empty] | T6 | 0.086963
[6 empty] | T7 | 3.4043 | T0: suspect
[6 empty] | TCWa | 0.66038
[6 empty] | TCWb | 0.68659
[6 empty] | LHV | 4.7147 | T0: suspect
[6 empty] | TWater, Econ | 3.2846
[6 empty] | TWater, Evap | 0.22653
[6 empty] | TSteam | 2.9567