## English
CGAM Problem - Real Gas
|  |  |  | Fuel |  |  | Heat Rate (BTU/kW-hr)
Supplemental Firing - Overall Energy Balance Method |  |  |  | 3.6 | lb/s |  | #NAME?
| #NAME? | T2 ( R) |  | 1625 | T3 ( R) |  | Gas (Air + Fuel)
| 9 | P2 (bar) |  | 8.55 | P3 (bar) |  | 233.6 | lb/s
[7 empty] | #NAME? | T5 ( R)
|  |  |  | 77400 |  |  | 1.0993 | P5 (bar)
Air Feed
230 | lb/s | [6 empty] | Design
536.67 | T1 ( R) |  | #NAME? |  |  |  | #NAME? | W_PT_Net (kW)
1.013 | P1 (bar) |  | W_AC_or_GT (kW) |  | #NAME? | T4 ( R) |  | #NAME? | (MW)
[5 empty] | 8.1225 | P4 (bar)
[7 empty] | 233.6 | lb/s
Stack | 233.6 | lb/s |  |  |  |  | #NAME? | T6( R)
| #NAME? | T7( R) |  |  |  |  | 1.0663 | P6 (bar)
| 1.013 | P7 (bar)
Design
[7 empty] | #NAME? | lb/s
[7 empty] | 874 | T9( R)
[7 empty] | 20 | P9 (bar)
| #NAME? | lb/s
| 700 | T8( R) | Preheat/Economizer |  | Evaporator
| 20 | P8 (bar) | #NAME? | BTU/s | #NAME? | BTU/s
Variables |  |  |  |  | Physical |  | Units Conversion
Fair (lb/s) = | 230 | Calculate T4 |  | MW Air (lb/lb-mol) | 28.965 |  | 3600 s = 1 hr | 3600
nAC = | 0.84 |  |  | MW Water (lb/lb-mol) | 18.0153 |  | 3.413 BTU/hr= W | 3.413
P2 (bar) = | 9 | Hfuel (Avail Btu/s) = | 75852 | CH4 C/H Ratio = | 4 |  | 1000 W = kW | 1000
T3 (R) = | 1625 | Hair (Total Btu/s) = | #NAME? | CH4 LHV (Btu/lb) = | 21500 |  | bar to psia | 14.5038
Ffuel (lb/s) = | 3.6 | hair+fuel (Btu/lb) = | #NAME? | Theor Air (lb air/ lb CH4) | 17.2359
nGT = | NA | DAR | 3.7067
nPT = | 0.87 | T4 (R) = | #NAME?
ΔTpinch ( R) = | 15
ΔTapproach ( R) = | 15
Material and Energy Balances
Temperatures (Isentropic) |  | Temperatures (Actual) |  | Log_Mean_Temp Air Preheater |  | Pressures
|  | Tref =T0 (R) = | 536.67 |  |  | Pref =P0 (bar) = | 1.013
|  | T1 (R) = | 536.67 | ΔTLMAPH (R) = | #NAME? | P1 (bar) = | 1.013
T2 (R) = | #NAME? | T2 (R) = | #NAME? |  |  | P2 (bar) = | 9
|  | T3 (R) = | 1625 |  |  | P3 (bar) = | 8.55
|  | T4 (R) = | #NAME? |  |  | P4 (bar) = | 8.1225
T5 (R) = | #NAME? | T5 (R) = | #NAME? |  |  | P5 (bar) = | 1.0993
|  | T6 (R) = | #NAME? |  |  | P6 (bar) = | 1.0663
|  | T7p(R) = | 889 |  |  | P7p (bar) = | 1.0397
|  | T7 (R) = | #NAME? |  |  | P7 (bar) = | 1.013
|  | T8 (R) = | 700 |  |  | P8 (bar) = | 20
|  | T8p (R) = | 859 |  |  | P8p (bar) = | 20
|  | T9 (R) = | 874 |  |  | P9 (bar) = | 20
Entropy Isentropic |  | Enthalpy Isentropic |  | Enthalpy Actual |  | Air_Fuel_Steam
|  |  |  | h0 (Btu/lb) = | #NAME?
s1 (Btu/lb-R) = | #NAME? |  |  | h1 (Btu/lb) = | #NAME?
s2 (Btu/lb-R) = | #NAME? | h2 (Btu/lb) = | #NAME? | h2 (Btu/lb) = | #NAME? | nCC = | 0.98
|  |  |  | h3 (Btu/lb) = | #NAME? | Ffuel(lb/s) = | 3.6
s4 (Btu/lb-R) = | #NAME? |  |  | h4 (Btu/lb) = | #NAME?
s5 (Btu/lb-R) = | #NAME? | h5 (Btu/lb) = | #NAME? | h5 (Btu/lb) = | #NAME? | Fair + Ffuel (lb/s) = | 233.6
|  |  |  | h6 (Btu/lb) = | #NAME?
|  | Log_Mean_Temp_HRSG_Design |  | h7p (Btu/lb) = | #NAME? | Fsteam(lb/s) = | #NAME?
|  | ΔTLMEvap (R) = | #NAME? | h7 (Btu/lb) = | #NAME? | Fwater(lb/s) = | #NAME?
|  | ΔTLMEcon (R) = | #NAME? | h8 (Btu/lb) = | #NAME?
|  | UAEvap_D = | #NAME? | h8p (Btu/lb) = | #NAME?
|  | UAEcon_D = | #NAME? | h9 (Btu/lb) = | #NAME?
(h6_SF-hgas_SF, ref) ≡h6_SF | #NAME? |  | Supplemental | Firing |  | FFuel_SF(lb/s) = | 1.4
T6_SF (R) = | #NAME? |  |  |  |  | DAR_SF = | 2.6688
h7P_SF (Btu/lb) = | #NAME? |  | Log_Mean_Temp_HRSG_SF |  |  | FFuel_SF + Fgas(lb/s) = | 235
T7p_SF ( R) = | #NAME? |  | ΔTLMEvap_SF ( R) = | #NAME? |  | FSteam_SF(lb/s) = | #NAME?
ΔTpinch_SF ( R) = | #NAME? |  | ΔTLMEcon_SF ( R) = | #NAME? |  | FWater_SF(lb/s) = | #NAME?
ΔTapproach_SF ( R) = | 15 |  | UAEvap_SF = | #NAME?
h8P_SF (Btu/lb) = | #NAME? |  | UAEcon_SF = | #NAME?
T8p_SF ( R) = | 859
h7_SF (Btu/lb) = | #NAME?
T7_SF (R) = | #NAME?
| Heat |  |  |  | Work
QCC (BTU/s) = | 77400 |  |  |  | WAC_Actual (BTU/s) = | #NAME? | Work (SI units)
QLoss (BTU/s) = | 1548 |  |  |  | WGT_Actual (BTU/s) = | #NAME? | #NAME? | (kW)
| Design | Sup Firing
Efficiency = | #NAME?
Transferred QEvap (BTU/s) = | #NAME? | #NAME? |  |  | WPT_Actual (BTU/s) = | #NAME? | #NAME? | (kW)
Transferred QEcon (BTU/s) = | #NAME? | #NAME? |  |  | WPT_Net (BTU/s) = | #NAME? | #NAME? | (kW)
|  | check on calcs |  |  | Power_Actual (kW) = | #NAME?
| also | Sup Firing
Transferred QEvap (BTU/s) = | Q_Evap_SF | #NAME?
Transferred QEcon (BTU/s) = | Q_Econ_SF | #NAME?