## Sheet1
Steam Turbine
Total Installed Cost | 250000
life (years) | 20
Compressor Power (kW) | 300
Turbine Heat Rate (Btu/kW-hr) | 12000 |  | Steam Turbine |  | Steam Turbine
Fuel Cost ($/106Btu) | 4 |  | Annual Costs |  | Levelized Costs
Operating hours/year | 8000 |  | ($/yr) |  | ($/kw-hr)
Yearly Fuel Cost | 115200 | Installed Cost ($/yr) | 29364.9062 | Installed Cost ($/kW-hr) | 0.012235
Discount Rate | 0.1 | Fuel ($/yr) | 187638.0405 | Fuel ($/kW-hr) | 0.078183
Escalation Rate | 0.06 | Annual Cost ($/yr) | 217002.9467 | Energy Cost ($/kW-hr) | 0.090418
Discount with Escalation | 0.037736
Capital Recovery Factor | 0.11746
Levelization Factor | 1.6288
as check
Each Year
PV Installed Cost | 250000
PV Cost Year 1 | 111010.9091
PV Cost Year 2 | 106974.1488
PV Cost Year 3 | 103084.1797
PV Cost Year 4 | 99335.6641
PV Cost Year 5 | 95723.4581
PV Cost Year 6 | 92242.6051
PV Cost Year 7 | 88888.3286
PV Cost Year 8 | 85656.0257
PV Cost Year 9 | 82541.2611
PV Cost Year 10 | 79539.7607
PV Cost Year 11 | 76647.4058
PV Cost Year 12 | 73860.2274
PV Cost Year 13 | 71174.4009
PV Cost Year 14 | 68586.2409
PV Cost Year 15 | 66092.1958
PV Cost Year 16 | 63688.8432
PV Cost Year 17 | 61372.8853
PV Cost Year 18 | 59141.144
PV Cost Year 19 | 56990.5569
PV Cost Year 20 | 54918.173
PV Total Cost ($) | 1847468.4142
As an annual cost ($/yr) | 217002.9467