## English
Air Standard Cycle
Fuel
|  |  |  | 0 | lb/s
Heat Rate (BTU/kW-hr) |  | 0 | T2 ( R) | 2520 | T3 ( R) |  | Gas (Air + Fuel)
#DIV/0! |  | 15.9 | P2 (atm) | 0 | P3 (atm) |  | 0 | lb/s
[7 empty] | 0 | T5 ( R)
|  |  | 0 | Q (BTU/s) |  |  | 0 | P5 (atm)
Air Feed
200 | lb/s
519 | T1 ( R) |  | 0 |  |  |  | 0 | W_PT (BTU/s)
1 | P1 (atm) |  | W_AC (BTU/s) |  | 0 | T4 ( R)
[5 empty] | 0 | P4 (atm)
[7 empty] | 0 | lb/s
Stack | 0 | lb/s |  |  |  |  | 0 | T6( R)
| 0 | T7( R) |  |  |  |  | 0 | P6 (atm)
| 0 | P7 (atm)
[7 empty] | 0 | lb/s
[7 empty] | 874 | T9( R)
[7 empty] | 290 | P9 (psia)
| 0 | lb/s
| 0 | T8( R) | Economizer |  | Evaporator
| 0 | P8 (psia) | 0 |  | 0
Variables |  |  | Physical |  |  | Units Conversion
Fair (lb/s) = | 200 | γa = | 1.4 |  |  | 3600 s = 1 hr | 3600
nAC = | 0.87 | Cp,a (BTU/lb-R) = | 0.24 |  |  | 3.413 BTU/hr= W | 3.413
P2 (bar) = | 15.9 | γg = | 1.33 |  |  | 1000 W = kW | 1000
T3 (R) = | 2520 | Cp,g (BTU/lb-R) = | 0.28
nGT = | 0.89 | Tref (R) = | 536.67
nPT = | 0.89 | CH4(BTU/lb) = | 21500
ΔTpinch ( R) = | 3 | hv,sat(874R) = |  | BTU/lb
ΔTapproach ( R) = | 27 | hl(847 R, 290) = |  | BTU/lb
|  | hl(700 R, 290) = |  | BTU/lb
Material and Energy Balances
Temperatures (Real) |  | Isentropic_Temps |  | Pressures |  | Air_Fuel_Steam
T0 (R) = | 519 |  |  | P0 (atm) = | 1
T1 (R) = | 519 |  |  | P1 (atm) = | 1
T2 (R) = |  |  |  | P2 (atm) = | 15.9 | nCC = | 0.98
T3 (R) = | 2520 |  |  | P3 (atm) = |  | Ffuel(lb/s) =
T4 (R) = |  | T4_Iso (R) = |  | P4 (atm) =
T5 (R) = |  | T5_Iso (R) = |  | P5 (atm) = |  | Fair + Ffuel (lb/s) =
T6 (R) = |  |  |  | P6 (atm) =
T7p(R) = |  |  |  | P7p (atm) = |  | Fsteam(lb/s) =
T7 (R) = |  |  |  | P7 (atm) = |  | Fwater(lb/s) =
T8 (R) = |  |  |  | P8 (psia) =
T8p (R) = |  |  |  | P8p (psia) =
T9 (R) = | 874 |  |  | P9 (psia) = | 290
| Heat |  |  |  | Work
QCC (BTU/s) = |  |  |  |  | WAC_Actual (BTU/s) =
QLoss (BTU/s) = |  |  |  |  | WGT_Actual (BTU/s) = | 0
WGT_Isentropic (BTU/s) =
Efficiency = | #DIV/0!
WPT_Actual (BTU/s) =
Transferred QEvap (BTU/s) = |  |  |  |  | W_PT_Isentropic (BTU/s) =
Transferred QEcon (BTU/s) =
[5 empty] | Power_Actual (kW) = | 0