## English
Cogeneration - Real Gas
with Organic Rankine Cycle |  |  |  | Fuel
|  |  |  | 2.8553 | lb/s
| #NAME? | T2 ( R) |  | 1647.6703 | T3 ( R) |  | Gas (Air + Fuel)
| 9 | P2 (bar) |  | 8.55 | P3 (bar) |  | 234.5049 | lb/s
[7 empty] | #NAME? | T5 ( R)
|  |  |  | 61389.4189 |  |  | 1.0993 | P5 (bar)
59
Air Feed
231.6496 | lb/s | [5 empty] | #NAME? | W_PT_Net (kW)
518.67 | T1 ( R) |  | #NAME? |  |  |  |  | #NAME? | (MW)
1.013 | P1 (bar) |  | W_AC_or_GT (kW) |  | #NAME? | T4 ( R)
[5 empty] | 8.1225 | P4 (bar)
[7 empty] | 234.5049 | lb/s
Stack | 234.5049 | lb/s |  | Waste Heat Oil Heater (WHOH) |  |  | #NAME? | T6( R)
| 716.67 | T7( R) |  |  |  |  | #NAME? | F
| 257 | F |  |  |  |  | 1.0663 | P6 (bar)
| 1.013 | P7 (bar)
Oil
[7 empty] | #NAME? | lb/s
[7 empty] | 968.67 | T9( R)
| #NAME? | lb/s | Waste Heat Oil Heater (WHOH) |  | #NAME? | BTU/s | 509 | F
| 675.27 | T8( R) |  |  | #NAME? | Btu/h
| Oil |  |  | Vaporizer (Vap) |  |  | Oil
[7 empty] | #NAME? | lb/s
[7 empty] | 858.87 | T10( R)
| 73.1805 | F |  | Vaporizer (Vap) |  |  | 399.2 | F
T13( R) | 532.8505 | [5 empty] | 22.8 | P10 (bar)
P13 bar | 22.8
T out Con ( R)
|  | 69.8 | F | 538.67 | 262.0384 | F
|  | 529.47 | T12( R) |  | 721.7084 | T11( R)
|  | 0.7 | P12 bar |  | 0.7 | P11 bar
#NAME? | Btu/s
#NAME? | kW
Organic Feed Pump
|  |  |  | Condenser (Con) |  | #NAME? | Org Turbine (kW)
|  |  | T into Con ( R) | #NAME? | Btu/s
|  |  | 518.67 | #NAME? | kW
|  |  | 59 | F
Variables |  |  |  |  | Physical |  | Units Conversion
Fair (lb/s) = | 231.6496 | Calculate T4 |  | MW Air (lb/lb-mol) | 28.965 |  | 3600 s = 1 hr | 3600
nAC = | 0.84 |  |  | MW Pentane (lb/lb-mol) | 72.15 |  | 3.413 BTU/hr= W | 3.413
P2 (bar) = | 9 | Hfuel (Avail Btu/s) = | 60161.6306 | CH4 C/H Ratio = | 4 |  | 1000 W = kW | 1000
T3 (R) = | 1647.6703 | Hair (Total Btu/s) = | #NAME? | CH4 LHV (Btu/lb) = | 21500 |  | bar to psia | 14.5038
Ffuel (lb/s) = | 2.8553 | hair+fuel (Btu/lb) = | #NAME? | Theor Air (lb air/ lb CH4) | 17.2359 |  | m2 to ft2 | 10.764
nPT = | 0.87 | DAR | 4.707 | R to F | 459.67 |  | for U values
T7 = | 716.67 | T4 (R) = | #NAME? | Cp oil (a + bT) | 0.3706+(0.000397)T | Btu/lb-F | 1 Btu/s-m2-R = | 1.899 kW/m2-K
ΔTApproach_Organic ( R) | 5 | [5 empty] | kW/m2-K = | 0.5265 Btu/s-m2-R
nOT = | 0.85 | [7 empty] | Btu/ft2-hr-F | Heat Transfer
nPump = | 0.65 |  |  | UWHOH | 0.06 | kW/m2-K | 0.03159 | Btu/m2-s-R | 10.5652 | gas to liquid (oil)
|  |  |  | UPreheater | 1.1 | kW/m2-K | 0.57915 | Btu/m2-s-R | 193.6957 | liquid (oil) to liquid (org)
|  |  |  | UVaporizer | 2 | kW/m2-K | 1.053 | Btu/m2-s-R | 352.1739 | liquid (oil) to boiling liquid (org)
|  |  |  | UCDesuper | 0.7 | kW/m2-K | 0.36855 | Btu/m2-s-R | 123.2609 | gas (org) to cooling water
|  |  |  | UCCondense | 1.6 | kW/m2-K | 0.8424 | Btu/m2-s-R | 281.7391 | condensing vapor (org) to water
Material and Energy Balances
Temperatures (Isentropic) |  | Temperatures (Actual) |  | Log_Mean_Temps |  | Pressures
|  | Tref =T0 (R) = | 536.67 | ΔTLMAPH (R) = | #NAME? | Pref =P0 (bar) = | 1.013
|  | T1 (R) = | 518.67 | ΔTLMWHOH (R) = | #NAME? | P1 (bar) = | 1.013 |  | 1091.678
T2 (R) = | #NAME? | T2 (R) = | #NAME? | ΔTLMPreheater (R) = | 79.157 | P2 (bar) = | 9 |  | 968.67
|  | T3 (R) = | 1647.6703 | ΔTLMVap (R) = | 67.7777 | P3 (bar) = | 8.55 |  | 716.67
|  | T4 (R) = | #NAME? | ΔTLMCDesuper (R) = | #NAME? | P4 (bar) = | 8.1225 |  | 675.27
T5 (R) = | #NAME? | T5 (R) = | #NAME? | ΔTLMCCondense (R) = | #NAME? | P5 (bar) = | 1.0993 |  | 74.9406
|  | T6 (R) = | #NAME? |  |  | P6 (bar) = | 1.0663
|  | T7 (R) = | 716.67 |  |  | P7 (bar) = | 1.013
|  | T8 (R) = | 675.27 | AWHOH (m2) = | #NAME? | P8 (bar) = | 10
|  | TOil Preheat (R) = | 832.4202 | APreheater (m2) = | #NAME?
|  | T9 (R) = | 968.67 | Avap (m2) = | #NAME? | P9 (bar) = | 10
|  | T10 (R) = | 858.87 | ACDesuper (m2) = | #NAME? | P10 (bar) = | 22.8
T11 (R) = | 700.63 | T11 (R) = | 721.7084 | ACCondense (m2) = | #NAME? | P11 (bar) = | 0.7
|  | TOrg Desuper (R) = | 543.07 |  |  | POrg Desuper (bar) = | 0.7
|  | T12 (R) = | 529.47 |  |  | P12 (bar) = | 0.7
T13 (R) = | 530.9903 | T13 (R) = | 532.8505 |  |  | P13 (bar) = | 22.8
|  | TOrg Preheat (R) = | 794.27 |  |  | POrg Preheat (bar) = | 22.8
|  | Twater in condense ( R) | 518.67
|  | Twater desuper ( R) | #NAME?
|  | Twater out condense ( R) | 538.67
Entropy Isentropic |  | Enthalpy Isentropic |  | Enthalpy Actual |  | Air_Fuel_Steam
|  |  |  | h0 (Btu/lb) = | #NAME?
s1 (Btu/lb-R) = | #NAME? |  |  | h1 (Btu/lb) = | #NAME?
s2 (Btu/lb-R) = | #NAME? | h2 (Btu/lb) = | #NAME? | h2 (Btu/lb) = | #NAME? | nCC = | 0.98
|  |  |  | h3 (Btu/lb) = | #NAME? | Ffuel(lb/s) = | 2.8553
s4 (Btu/lb-R) = | #NAME? |  |  | h4 (Btu/lb) = | #NAME?
s5 (Btu/lb-R) = | #NAME? | h5 (Btu/lb) = | #NAME? | h5 (Btu/lb) = | #NAME? | Fair + Ffuel (lb/s) = | 234.5049
|  |  |  | h6 (Btu/lb) = | #NAME?
|  |  |  | h7 (Btu/lb) = | #NAME? | Foil(lb/s) = | #NAME? |  | Q check Preheater
|  |  |  | h8 (Btu/lb) = | 59.4152 |  |  |  | #NAME? | Btu/s
|  |  |  | hOil Preheat (Btu/lb) = | 136.0082
|  |  |  | h9 (Btu/lb) = | 210.3499 | Forg(lb/s) = | #NAME?
s10 (Btu/lb-R) = | 0.52636 |  |  | h10 (Btu/lb) = | 341.7926
s11 (Btu/lb-R) = | 0.52636 | h11 (Btu/lb) = | 274.076 | h11 (Btu/lb) = | 284.2335 | Fwater(lb/s) = | #NAME?
|  |  |  | hOrg Desuper (Btu/lb) = | 201.4923
s12 (Btu/lb-R) = | 0.12802 |  |  | h12 (Btu/lb) = | 58.0867
s13 (Btu/lb-R) = | 0.12802 | h13 (Btu/lb) = | 59.7975 | h13 (Btu/lb) = | 60.7187
|  |  |  | hOrg Preheat (Btu/lb) = | 119.368
|  |  |  | hwater in condense ( Btu/lb) | -18 |  |  |  | Q check Desuperheater
|  |  |  | hwater desuper (Btu/lb) | #NAME? |  |  |  | #NAME?
|  |  |  | hwater out condense (Btu/lb) | 2
| Heat |  |  |  | Work
Combustor
QCC (BTU/s) = | 61389.4189 |  |  |  | WAC_Actual (BTU/s) = | #NAME? | Work (SI units)
QLoss (BTU/s) = | 1227.7884 |  |  |  | WGT_Actual (BTU/s) = | #NAME? | #NAME? | (kW)
Efficiency = | #NAME?
Gas Turbine
QWHOH (BTU/s) = | #NAME? |  |  |  | WPT_Actual (BTU/s) = | #NAME? | #NAME? | (kW)
QVap (BTU/s) = | #NAME? |  |  |  | WPT_Net (BTU/s) = | #NAME? | #NAME? | (kW)
QPreheat (BTU/s) = | #NAME? |  |  |  | Power_Actual (kW) = | #NAME?
QVap_latent (BTU/s) = | #NAME? |  |  | Organic Turbine and Pump
[5 empty] | Worg_Actual (BTU/s) = | #NAME? | #NAME? | (kW)
QCon (BTU/s) = | #NAME? |  |  |  | WPump_Actual (BTU/s) = | #NAME? | #NAME? | (kW)
QDesuper (BTU/s) = | #NAME? |  |  |  | Power_Actual (kW) = | #NAME?
QCon_latent (BTU/s) = | #NAME?
Costing
| Area (m2) | Area (ft2) | kW | $ Capital | % of total PEC
Waste Heat Oil Heater | #NAME? | #NAME? |  | #NAME?
Preheater | #NAME? | #NAME? |  | #NAME?
Vaporizer | #NAME? | #NAME? |  | #NAME?
Turbine |  |  | #NAME? | #NAME? | #NAME?
Generator |  |  |  | #NAME?
Desuperheater | #NAME? | #NAME? |  | #NAME?
Condenser | #NAME? | #NAME? |  | #NAME?
Pump |  |  | #NAME? | #NAME?
Cooling Tower |  |  | #NAME? | #NAME?
Capital Investment / Purchased Equipment (PEC) |  |  |  | #NAME?
Ormat Estimate CI / PEC |  |  |  | #NAME?
Total Capital Investment |  |  |  | #NAME?
Operating and Maintenance |  |  |  | 200000
Levelized Electricity Cost
effective rate of return |  |  |  | 0.085
normal escalation rate |  |  |  | 0.04
equivalent discount with escalation |  |  |  | 0.043269
lifetime (yrs) |  |  |  | 10
Capital Recovery Factor |  |  |  | 0.15241
Levelization Factor |  |  |  | 1.2163
Levelized TCI ($/yr) |  |  |  | #NAME?
Levelized O&M ($/yr) |  |  |  | 243257.5478
Levelized Cost to Produce Electricity |  |  |  | #NAME?
Hours of operation per year (hr) |  |  |  | 8000
¢/kW-hr |  |  |  | #NAME?