## English
CGAM Problem - Real Gas
|  |  |  | Fuel |  |  | Heat Rate (BTU/kW-hr)
|  |  |  | 3.5158 | lb/s |  | #NAME?
| #NAME? | T2 ( R) |  | 1624.6753 | T3 ( R) |  | Gas (Air + Fuel)
| 8.1067 | P2 (bar) |  | 7.7013 | P3 (bar) |  | 232.191 | lb/s
[7 empty] | #NAME? | T5 ( R)
|  |  |  | 75590.3208 |  |  | 1.0993 | P5 (bar)
Air Feed
228.6751 | lb/s
536.67 | T1 ( R) |  | #NAME? |  |  |  | #NAME? | W_PT_Net (kW)
1.013 | P1 (bar) |  | W_AC_or_GT (kW) |  | #NAME? | T4 ( R) |  | #NAME? | (MW)
[5 empty] | 7.3163 | P4 (bar)
[7 empty] | 232.191 | lb/s
Stack | 232.191 | lb/s |  |  |  |  | #NAME? | T6( R)
| #NAME? | T7( R) |  |  |  |  | 1.0663 | P6 (bar)
| 1.013 | P7 (bar)
[7 empty] | #NAME? | lb/s
[7 empty] | 874 | T9( R)
[7 empty] | 20 | P9 (bar)
| #NAME? | lb/s
| 536.67 | T8( R) | Preheat/Economizer |  | Evaporator
| 20 | P8 (bar) | #NAME? | BTU/s | #NAME? | BTU/s
Variables |  |  |  |  | Physical |  | Units Conversion
Fair (lb/s) = | 228.6751 | Calculate T4 |  | MW Air (lb/lb-mol) | 28.965 |  | 3600 s = 1 hr | 3600
nAC = | 0.84184 |  |  | MW Water (lb/lb-mol) | 18.0153 |  | 3.413 BTU/hr= W | 3.413
P2 (bar) = | 8.1067 | Hfuel (Avail Btu/s) = | 74078.5144 | CH4 C/H Ratio = | 4 |  | 1000 W = kW | 1000
T3 (R) = | 1624.6753 | Hair (Total Btu/s) = | #NAME? | CH4 LHV (Btu/lb) = | 21500 |  | bar to psia | 14.5038
Ffuel (lb/s) = | 3.5158 | hair+fuel (Btu/lb) = | #NAME? | Theor Air (lb air/ lb CH4) | 17.2359
nGT = | NA | DAR | 3.7736
nPT = | 0.86199 | T4 (R) = | #NAME?
ΔTpinch ( R) = | 10
ΔTapproach ( R) = | 10
Material and Energy Balances
Temperatures (Isentropic) |  | Temperatures (Actual) |  | Log_Mean_Temps |  | Pressures
|  | Tref =T0 (R) = | 536.67 |  |  | Pref =P0 (bar) = | 1.013
|  | T1 (R) = | 536.67 |  |  | P1 (bar) = | 1.013
T2 (R) = | #NAME? | T2 (R) = | #NAME? |  |  | P2 (bar) = | 8.1067
|  | T3 (R) = | 1624.6753 | ΔTLMEcon (R) = | #NAME? | P3 (bar) = | 7.7013
|  | T4 (R) = | #NAME? | ΔTLMEvap (R) = | #NAME? | P4 (bar) = | 7.3163
T5 (R) = | #NAME? | T5 (R) = | #NAME? | ΔTLMAPH (R) = | #NAME? | P5 (bar) = | 1.0993
|  | T6 (R) = | #NAME? |  |  | P6 (bar) = | 1.0663
|  | T7p(R) = | 884 |  |  | P7p (bar) = | 1.0397
|  | T7 (R) = | #NAME? |  |  | P7 (bar) = | 1.013
|  | T8 (R) = | 536.67 |  |  | P8 (bar) = | 20
|  | T8p (R) = | 864 |  |  | P8p (bar) = | 20
|  | T9 (R) = | 874 |  |  | P9 (bar) = | 20
Entropy Isentropic |  | Enthalpy Isentropic |  | Enthalpy Actual |  | Air_Fuel_Steam
|  |  |  | h0 (Btu/lb) = | #NAME?
s1 (Btu/lb-R) = | #NAME? |  |  | h1 (Btu/lb) = | #NAME?
s2 (Btu/lb-R) = | #NAME? | h2 (Btu/lb) = | #NAME? | h2 (Btu/lb) = | #NAME? | nCC = | 0.98
|  |  |  | h3 (Btu/lb) = | #NAME? | Ffuel(lb/s) = | 3.5158
s4 (Btu/lb-R) = | #NAME? |  |  | h4 (Btu/lb) = | #NAME?
s5 (Btu/lb-R) = | #NAME? | h5 (Btu/lb) = | #NAME? | h5 (Btu/lb) = | #NAME? | Fair + Ffuel (lb/s) = | 232.191
|  |  |  | h6 (Btu/lb) = | #NAME?
|  |  |  | h7p (Btu/lb) = | #NAME? | Fsteam(lb/s) = | #NAME?
|  |  |  | h7 (Btu/lb) = | #NAME? | Fwater(lb/s) = | #NAME?
|  |  |  | h8 (Btu/lb) = | #NAME?
|  |  |  | h8p (Btu/lb) = | #NAME?
|  |  |  | h9 (Btu/lb) = | #NAME?
| Heat |  |  |  | Work
QCC (BTU/s) = | 75590.3208 |  |  |  | WAC_Actual (BTU/s) = | #NAME? | Work (SI units)
QLoss (BTU/s) = | 1511.8064 |  |  |  | WGT_Actual (BTU/s) = | #NAME? | #NAME? | (kW)
Efficiency = | #NAME?
Transferred QEvap (BTU/s) = | #NAME? |  |  |  | WPT_Actual (BTU/s) = | #NAME? | #NAME? | (kW)
Transferred QEcon (BTU/s) = | #NAME? |  |  |  | WPT_Net (BTU/s) = | #NAME? | #NAME? | (kW)
[5 empty] | Power_Actual (kW) = | #NAME?
|  |  |  | Total Cost ($/s)= | #NAME?
Economics
[6 empty] | ZAC($) = | 1174642.4494
[6 empty] | ZCC($) = | #NAME?
[6 empty] | ZGT($) = | #NAME?
[6 empty] | ZAPH($) = | #NAME?
[6 empty] | ZHRSG($) = | #NAME?
[6 empty] | Fuel($/s)= | 0.31902
[6 empty] | CRF(%) = | 18.2% | CRF(%) = | 18.2%
[6 empty] | N(hr) = | 8000 | N(hr) = | 8000
[6 empty] | φ = | 1.06 | φ = | 1.06
[6 empty] | cf($/MBtu) = | 4.2204 | cf($/MJ) = | 0.004
[6 empty] | C11($/(lb/s)) = | 17.95 | C11($/(kg/s)) = | 39.5
[6 empty] | C12 = | 0.9 | C12 = | 0.9
[6 empty] | C21($/(lb/s)) = | 11.64 | C21($/(kg/s)) = | 25.6
[6 empty] | C22 = | 0.995 | C22 = | 0.995
[6 empty] | C23(1/R)= | 0.01 | C23(1/K)= | 0.018
[6 empty] | C24= | 26.4 | C24= | 26.4
[6 empty] | C31($/(lb/s))= | 212 | C31($/(kg/s))= | 266.3
[6 empty] | C32= | 0.92 | C32= | 0.92
[6 empty] | C33(1/R)= | 0.02 | C33(1/K)= | 0.036
[6 empty] | C34= | 54.4 | C34= | 54.4
[6 empty] | C41($/(m1.2)= | 2290 | C41($/(m1.2)= | 2290
[6 empty] | U(Btu/(s m2 R))= | 9.478/1000 | U(kW/(m2K))= | 18/1000
[6 empty] | C51($/(Btu/(s R)0.8)= | 6097.2 | C51($/(kW/K)0.8)= | 3650
[6 empty] | C52($/(lb/s))= | 5361.5 | C52($/(kg/s))= | 11820
[6 empty] | C53($/(lb/s)1.2)= | 254.8 | C53($/(kg/s)1.2)= | 658