## English
SI - Real Gas- Off Design Case 2
Heat Rate (kJ/kW-hr)
|  |  | Fuel |  |  |  | #NAME?
|  |  | 0.92421 | kg/s
| #NAME? | T2 ( K) |  | 1523.15 | T3 ( K) |  | Gas (Air + Fuel)
| 14.2162 | P2 (bar) |  | 13.6475 | P3 (bar) |  | 44.8193 | lb/s
[7 empty] | #NAME? | T5 ( K)
|  |  | 46219.5666 |  |  |  | 1.023 | P5 (bar)
Air Feed
43.895 | lb/s
288.15 | T1 ( K) | #NAME? |  |  |  |  | #NAME? | W_PT_Net (kW)
1.013 | P1 (bar) | W_AC (kW) |  |  | #NAME? | T4 ( K) |  | #NAME? | (MW)
[5 empty] | 13.6475 | P4 (bar)
[7 empty] | 44.8193 | lb/s
Stack | 44.8193 | lb/s |  |  |  |  | #NAME? | T6( K)
| #NAME? | T7( K) |  |  |  |  | 1.023 | P6 (bar)
| 1.013 | P7 (bar)
[7 empty] | #NAME? | kg/s
[7 empty] | 485.55 | T9( K)
[7 empty] | 20 | P9 (bar)
| #NAME? | kg/s
| 388.89 | T8( K) | Preheat/Economizer |  | Evaporator
| 20 | P8 (bar) | #NAME? | kJ/s | #NAME? | kJ/s
Variables |  |  |  |  | Physical |  | Units Conversion
Fair (kg/s) = | 43.895 | Calculate T3 |  | MW Air (kg/kg-mol) | 28.965 |  | 3600 s = 1 hr | 3600
nAC = | 0.76579 |  |  | MW Water (kg/kg-mol) | 18.0153 |  | 3.413 BTU/hr= W | 3.413
P2 (bar) = | 14.2162 | Hfuel (Avail Btu/s) = | 46219.5666 | CH4 C/H Ratio = | 4 |  | 1000 W = kW | 1000
T3 (K) = | 1523.15 | Hair (Total Btu/s) = | #NAME? | CH4 LHV (kJ/kg) = | 50010 |  | bar to Mpa | 0.1
Ffuel (kg/s) = | 0.92421 | hair+fuel (Btu/lb) = | #NAME? | Theor Air (kg air/ kg CH4) | 17.2359 |  | bar to psia
nGT = | NA | DAR | 2.7556 | Tref-Combustion (K) | 298.15
nPT = | 0.9 | T4 (R) = | #NAME? | Pref-Combustion (bar) | 1.013
ΔTpinch ( K) = | 10
ΔTapproach ( K) = | 10
Material and Energy Balances
Temperatures (Isentropic) |  | Temperatures (Actual) |  | Log_Mean_Temps |  | Pressures
|  | T0 (K) = | 288.15 |  |  | Pref =P0 (bar) = | 1.013
|  | T1 (K) = | 288.15 |  |  | P1 (bar) = | 1.013
T2 (K) = | #NAME? | T2 (K) = | #NAME? |  |  | P2 (bar) = | 14.2162
|  | T3 (K) = | 1523.15 | ΔTLMEcon (K) = | #NAME? | P3 (bar) = | 13.6475
|  | T4 (K) = | #NAME? | ΔTLMEvap (K) = | #NAME? | P4 (bar) = | 13.6475
T5 (K) = | #NAME? | T5 (K) = | #NAME? |  |  | P5 (bar) = | 1.023
|  | T6 (K) = | #NAME? |  |  | P6 (bar) = | 1.023
|  | T7p(K) = | 495.55 |  |  | P7p (bar) = | 1.018
|  | T7 (K) = | #NAME? |  |  | P7 (bar) = | 1.013
|  | T8 (K) = | 388.89 |  |  | P8 (bar) = | 20
|  | T8p (K) = | 475.55 |  |  | P8p (bar) = | 20
|  | T9 (K) = | 485.55 |  |  | P9 (bar) = | 20
Entropy Isentropic |  | Enthalpy Isentropic |  | Enthalpy Actual |  | Air_Fuel_Steam
|  |  |  | hRef (kJ/kg) = | #NAME?
|  |  |  | h0 (kJ/kg) = | #NAME?
s1 (kJ/kg-K) = | #NAME? |  |  | h1 (kJ/kg) = | #NAME?
s2 (kJ/kg-K) = | #NAME? | h2 (kJ/kg) = | #NAME? | h2 (kJ/kg) = | #NAME? | nCC = | 1
|  |  |  | h3 (kJ/kg) = | #NAME? | Ffuel(kg/s) = | 0.92421
s4 (kJ/kg-K) = | #NAME? |  |  | h4 (kJ/kg) = | #NAME?
s5 (kJ/kg-K) = | #NAME? | h5 (kJ/kg) = | #NAME? | h5 (kJ/kg) = | #NAME? | Fair + Ffuel (kg/s) = | 44.8193
|  |  |  | h6 (kJ/kg) = | #NAME?
|  |  |  | h7p (kJ/kg) = | #NAME? | Fsteam(kg/s) = | #NAME?
|  |  |  | h7 (kJ/kg) = | #NAME? | Fwater(kg/s) = | #NAME?
|  |  |  | h8 (kJ/kg) = | #NAME?
|  |  |  | h8p (kJ/kg) = | #NAME?
|  |  |  | h9 (kJ/kg) = | #NAME?
| Heat |  |  |  | Work
QCC (kJ/s) = | 46219.5666 |  |  |  | WAC_Actual (kJ/s) = | #NAME?
QLoss (kJ/s) = | 0 |  |  |  | PowerAC_Actual (kW) = | #NAME?
Efficiency = | #NAME?
Transferred QEvap (kJ/s) = | #NAME? |  |  |  | WPT_Actual (kJ/s) = | #NAME?
Transferred QEcon (kJ/s) = | #NAME? |  |  |  | WPT_Net (kJ/s) = | #NAME?
[5 empty] | Power_Actual (kW) = | #NAME?
Design Values
MUST
|  | Parameters needed for Off-Design Performance |  |  |  | Suppy or
Paste Values Here
|  |  | Choked Turb In | (FT0.5)/P | 128.1687 | 128.1458
|  |  | Turbine Exit T | T5 | #NAME? | 872.5657
|  |  | Fd |  | 50 | 50
|  |  | nAC = |  | 0.89 | 0.89
|  |  | Net Powerd |  | #NAME? | 21611.2608
|  | Set Off-Design Performance |  |  |  |  | Design Values
|  |  | T0 off_d |  | 288.15 |  | 288.15
|  |  | change IGV angle |  | 9.0444 |  | 0
|  |  | Foff_d |  | 43.895
|  |  | Foff_d/Fd |  | 0.8779
|  |  | nAC = |  | 0.76579
The objective function (use automatic scaling option):
[5 empty] | Obj | #NAME? | (((FT0.5)/P)d-((FT0.5)/P)Off)2 + (T3d - T3off)2 + (Net Work_d*0.75 - Net Work_off)2
|  |  | Possible Constraint: Check If |  | T5Off<T5d*1.1? | T5off = | #NAME? | (T5d*1.1)= | 959.8221