## Sheet1
Numerical Solution Economizer Tubes Temperature Profile
|  |  | To Stack |  |  |  |  | Exhaust Gas
Tube Data | data input in green cells
Outside Diameter | 2 | in |  | Tube Pass = | 120 |  |  | Tube Pass = | 121 |  |  | Tube Pass = | 122 |  |  | Tube Pass = | 123 |  |  | Tube Pass = | 124 |  |  | Tube Pass = | 125 |  |  | Tube Pass = | 126 |  |  | Tube Pass = | 127 |  |  | Tube Pass = | 128 |  |  | Tube Pass = | 129 |  |  | Tube Pass = | 130 |  |  | Tube Pass = | 131 |  |  | Tube Pass = | 132 |  |  | Tube Pass = | 133 |  |  | Tube Pass = | 134 |  |  | Tube Pass = | 135
Inside Diameter | 1.81 | in | Position | U(r=1, n=1..N) | Th(r=1, n=1..N) | Tc(r=1, n=1..N) | Position | U(r=2, n=1..N) | Th(r=2, n=1..N) | Tc(r=2, n=1..N)
Number of Tubes Wide | 20 |  | 1 | 21.9709 | 411.1001 | 376.1426 | 1 | 21.9773 | 411.6595 | 377.1514 | 1 | 21.9836 | 412.2119 | 378.1469 | 1 | 21.9898 | 412.7573 | 379.1293 | 1 | 21.996 | 413.2959 | 380.0989 | 1 | 22.0021 | 413.8276 | 381.0559 | 1 | 22.0081 | 414.3527 | 382.0003 | 1 | 22.014 | 414.8711 | 382.9324 | 1 | 22.0198 | 415.3831 | 383.8523 | 1 | 22.0256 | 415.8886 | 384.7603 | 1 | 22.0313 | 416.3877 | 385.6564 | 1 | 22.0369 | 416.8806 | 386.5409 | 1 | 22.0425 | 417.3674 | 387.4139 | 1 | 22.048 | 417.848 | 388.2755 | 1 | 22.0534 | 418.3226 | 389.126 | 1 | 22.0588 | 418.7913 | 389.9654
Tube Spacing | 4 | in | 2 | 21.9742 | 411.1001 | 376.2107 | 2 | 21.9806 | 411.6595 | 377.2186 | 2 | 21.9869 | 412.2119 | 378.2132 | 2 | 21.9931 | 412.7573 | 379.1948 | 2 | 21.9992 | 413.2959 | 380.1636 | 2 | 22.0053 | 413.8276 | 381.1196 | 2 | 22.0113 | 414.3527 | 382.0632 | 2 | 22.0172 | 414.8711 | 382.9945 | 2 | 22.0231 | 415.3831 | 383.9137 | 2 | 22.0288 | 415.8886 | 384.8208 | 2 | 22.0345 | 416.3877 | 385.7162 | 2 | 22.0402 | 416.8806 | 386.5999 | 2 | 22.0457 | 417.3674 | 387.4721 | 2 | 22.0512 | 417.848 | 388.3329 | 2 | 22.0566 | 418.3226 | 389.1827 | 2 | 22.062 | 418.7913 | 390.0214
Tube Length | 15 | ft | 3 | 21.9774 | 411.1001 | 376.2787 | 3 | 21.9838 | 411.6595 | 377.2857 | 3 | 21.9901 | 412.2119 | 378.2794 | 3 | 21.9963 | 412.7573 | 379.2602 | 3 | 22.0025 | 413.2959 | 380.2281 | 3 | 22.0085 | 413.8276 | 381.1833 | 3 | 22.0145 | 414.3527 | 382.1261 | 3 | 22.0204 | 414.8711 | 383.0565 | 3 | 22.0263 | 415.3831 | 383.9749 | 3 | 22.032 | 415.8886 | 384.8812 | 3 | 22.0377 | 416.3877 | 385.7758 | 3 | 22.0434 | 416.8806 | 386.6587 | 3 | 22.0489 | 417.3674 | 387.5301 | 3 | 22.0544 | 417.848 | 388.3903 | 3 | 22.0598 | 418.3226 | 389.2392 | 3 | 22.0652 | 418.7913 | 390.0772
Number Tube Passes | 200 |  | 4 | 21.9807 | 411.1001 | 376.3466 | 4 | 21.987 | 411.6595 | 377.3527 | 4 | 21.9933 | 412.2119 | 378.3455 | 4 | 21.9995 | 412.7573 | 379.3254 | 4 | 22.0057 | 413.2959 | 380.2924 | 4 | 22.0117 | 413.8276 | 381.2469 | 4 | 22.0177 | 414.3527 | 382.1888 | 4 | 22.0236 | 414.8711 | 383.1184 | 4 | 22.0295 | 415.3831 | 384.0359 | 4 | 22.0352 | 415.8886 | 384.9415 | 4 | 22.0409 | 416.3877 | 385.8353 | 4 | 22.0466 | 416.8806 | 386.7174 | 4 | 22.0521 | 417.3674 | 387.5881 | 4 | 22.0576 | 417.848 | 388.4475 | 4 | 22.063 | 418.3226 | 389.2957 | 4 | 22.0684 | 418.7913 | 390.1329
kwall | 25 | btu/hr-ft-oF | 5 | 21.9839 | 411.1001 | 376.4144 | 5 | 21.9902 | 411.6595 | 377.4195 | 5 | 21.9965 | 412.2119 | 378.4115 | 5 | 22.0027 | 412.7573 | 379.3905 | 5 | 22.0089 | 413.2959 | 380.3567 | 5 | 22.0149 | 413.8276 | 381.3103 | 5 | 22.0209 | 414.3527 | 382.2514 | 5 | 22.0268 | 414.8711 | 383.1802 | 5 | 22.0327 | 415.3831 | 384.0969 | 5 | 22.0384 | 415.8886 | 385.0017 | 5 | 22.0441 | 416.3877 | 385.8947 | 5 | 22.0497 | 416.8806 | 386.7761 | 5 | 22.0553 | 417.3674 | 387.646 | 5 | 22.0608 | 417.848 | 388.5046 | 5 | 22.0662 | 418.3226 | 389.3521 | 5 | 22.0715 | 418.7913 | 390.1886
|  |  | 6 | 21.9871 | 411.1001 | 376.482 | 6 | 21.9934 | 411.6595 | 377.4863 | 6 | 21.9997 | 412.2119 | 378.4774 | 6 | 22.0059 | 412.7573 | 379.4555 | 6 | 22.0121 | 413.2959 | 380.4209 | 6 | 22.0181 | 413.8276 | 381.3736 | 6 | 22.0241 | 414.3527 | 382.3139 | 6 | 22.03 | 414.8711 | 383.2419 | 6 | 22.0358 | 415.3831 | 384.1578 | 6 | 22.0416 | 415.8886 | 385.0618 | 6 | 22.0473 | 416.3877 | 385.954 | 6 | 22.0529 | 416.8806 | 386.8346 | 6 | 22.0584 | 417.3674 | 387.7037 | 6 | 22.0639 | 417.848 | 388.5616 | 6 | 22.0693 | 418.3226 | 389.4084 | 6 | 22.0747 | 418.7913 | 390.2441
Water Flow Data |  |  | 7 | 21.9903 | 411.1001 | 376.5495 | 7 | 21.9966 | 411.6595 | 377.5529 | 7 | 22.0029 | 412.2119 | 378.5431 | 7 | 22.0091 | 412.7573 | 379.5204 | 7 | 22.0152 | 413.2959 | 380.4849 | 7 | 22.0213 | 413.8276 | 381.4368 | 7 | 22.0273 | 414.3527 | 382.3762 | 7 | 22.0332 | 414.8711 | 383.3034 | 7 | 22.039 | 415.3831 | 384.2185 | 7 | 22.0447 | 415.8886 | 385.1217 | 7 | 22.0504 | 416.3877 | 386.0131 | 7 | 22.056 | 416.8806 | 386.893 | 7 | 22.0616 | 417.3674 | 387.7614 | 7 | 22.067 | 417.848 | 388.6185 | 7 | 22.0725 | 418.3226 | 389.4645 | 7 | 22.0778 | 418.7913 | 390.2996
Fc = Fwater | 111096 | lb/hr | 8 | 21.9934 | 411.1001 | 376.6168 | 8 | 21.9998 | 411.6595 | 377.6194 | 8 | 22.0061 | 412.2119 | 378.6087 | 8 | 22.0123 | 412.7573 | 379.5852 | 8 | 22.0184 | 413.2959 | 380.5488 | 8 | 22.0244 | 413.8276 | 381.4999 | 8 | 22.0304 | 414.3527 | 382.4385 | 8 | 22.0363 | 414.8711 | 383.3649 | 8 | 22.0421 | 415.3831 | 384.2792 | 8 | 22.0479 | 415.8886 | 385.1816 | 8 | 22.0535 | 416.3877 | 386.0722 | 8 | 22.0592 | 416.8806 | 386.9513 | 8 | 22.0647 | 417.3674 | 387.8189 | 8 | 22.0702 | 417.848 | 388.6753 | 8 | 22.0756 | 418.3226 | 389.5206 | 8 | 22.0809 | 418.7913 | 390.3549
Tc(r=R, n=1) | 77 | oF | 9 | 21.9966 | 411.1001 | 376.6841 | 9 | 22.0029 | 411.6595 | 377.6857 | 9 | 22.0092 | 412.2119 | 378.6742 | 9 | 22.0154 | 412.7573 | 379.6498 | 9 | 22.0215 | 413.2959 | 380.6126 | 9 | 22.0276 | 413.8276 | 381.5628 | 9 | 22.0335 | 414.3527 | 382.5006 | 9 | 22.0394 | 414.8711 | 383.4262 | 9 | 22.0452 | 415.3831 | 384.3397 | 9 | 22.051 | 415.8886 | 385.2413 | 9 | 22.0567 | 416.3877 | 386.1312 | 9 | 22.0623 | 416.8806 | 387.0095 | 9 | 22.0678 | 417.3674 | 387.8764 | 9 | 22.0733 | 417.848 | 388.732 | 9 | 22.0787 | 418.3226 | 389.5766 | 9 | 22.084 | 418.7913 | 390.4101
Pwater | 290.08 | psia | 10 | 21.9997 | 411.1001 | 376.7512 | 10 | 22.0061 | 411.6595 | 377.752 | 10 | 22.0123 | 412.2119 | 378.7396 | 10 | 22.0185 | 412.7573 | 379.7143 | 10 | 22.0246 | 413.2959 | 380.6763 | 10 | 22.0307 | 413.8276 | 381.6257 | 10 | 22.0366 | 414.3527 | 382.5626 | 10 | 22.0425 | 414.8711 | 383.4874 | 10 | 22.0483 | 415.3831 | 384.4001 | 10 | 22.0541 | 415.8886 | 385.3009 | 10 | 22.0598 | 416.3877 | 386.19 | 10 | 22.0654 | 416.8806 | 387.0676 | 10 | 22.0709 | 417.3674 | 387.9337 | 10 | 22.0764 | 417.848 | 388.7886 | 10 | 22.0818 | 418.3226 | 389.6324 | 10 | 22.0871 | 418.7913 | 390.4653
|  |  | 11 | 22.0028 | 411.1001 | 376.8182 | 11 | 22.0092 | 411.6595 | 377.8181 | 11 | 22.0154 | 412.2119 | 378.8049 | 11 | 22.0216 | 412.7573 | 379.7787 | 11 | 22.0277 | 413.2959 | 380.7398 | 11 | 22.0338 | 413.8276 | 381.6884 | 11 | 22.0397 | 414.3527 | 382.6246 | 11 | 22.0456 | 414.8711 | 383.5485 | 11 | 22.0514 | 415.3831 | 384.4604 | 11 | 22.0572 | 415.8886 | 385.3605 | 11 | 22.0628 | 416.3877 | 386.2488 | 11 | 22.0684 | 416.8806 | 387.1256 | 11 | 22.074 | 417.3674 | 387.9909 | 11 | 22.0794 | 417.848 | 388.8451 | 11 | 22.0848 | 418.3226 | 389.6882 | 11 | 22.0902 | 418.7913 | 390.5203
|  |  | 12 | 22.0059 | 411.1001 | 376.8851 | 12 | 22.0123 | 411.6595 | 377.8841 | 12 | 22.0185 | 412.2119 | 378.87 | 12 | 22.0247 | 412.7573 | 379.843 | 12 | 22.0308 | 413.2959 | 380.8033 | 12 | 22.0369 | 413.8276 | 381.751 | 12 | 22.0428 | 414.3527 | 382.6864 | 12 | 22.0487 | 414.8711 | 383.6095 | 12 | 22.0545 | 415.3831 | 384.5206 | 12 | 22.0602 | 415.8886 | 385.4199 | 12 | 22.0659 | 416.3877 | 386.3074 | 12 | 22.0715 | 416.8806 | 387.1834 | 12 | 22.077 | 417.3674 | 388.0481 | 12 | 22.0825 | 417.848 | 388.9015 | 12 | 22.0879 | 418.3226 | 389.7438 | 12 | 22.0932 | 418.7913 | 390.5752
Exhaust Flow Data |  |  | 13 | 22.009 | 411.1001 | 376.9518 | 13 | 22.0154 | 411.6595 | 377.95 | 13 | 22.0216 | 412.2119 | 378.935 | 13 | 22.0278 | 412.7573 | 379.9072 | 13 | 22.0339 | 413.2959 | 380.8666 | 13 | 22.0399 | 413.8276 | 381.8135 | 13 | 22.0459 | 414.3527 | 382.748 | 13 | 22.0518 | 414.8711 | 383.6704 | 13 | 22.0576 | 415.3831 | 384.5807 | 13 | 22.0633 | 415.8886 | 385.4792 | 13 | 22.069 | 416.3877 | 386.366 | 13 | 22.0746 | 416.8806 | 387.2412 | 13 | 22.0801 | 417.3674 | 388.1051 | 13 | 22.0855 | 417.848 | 388.9578 | 13 | 22.0909 | 418.3226 | 389.7994 | 13 | 22.0962 | 418.7913 | 390.6301
Fh = Fexhaust | 840327.84 | lb/hr | 14 | 22.0121 | 411.1001 | 377.0185 | 14 | 22.0184 | 411.6595 | 378.0157 | 14 | 22.0247 | 412.2119 | 378.9999 | 14 | 22.0309 | 412.7573 | 379.9712 | 14 | 22.037 | 413.2959 | 380.9298 | 14 | 22.043 | 413.8276 | 381.8759 | 14 | 22.0489 | 414.3527 | 382.8096 | 14 | 22.0548 | 414.8711 | 383.7311 | 14 | 22.0606 | 415.3831 | 384.6407 | 14 | 22.0663 | 415.8886 | 385.5384 | 14 | 22.072 | 416.3877 | 386.4244 | 14 | 22.0776 | 416.8806 | 387.2989 | 14 | 22.0831 | 417.3674 | 388.162 | 14 | 22.0886 | 417.848 | 389.0139 | 14 | 22.094 | 418.3226 | 389.8548 | 14 | 22.0993 | 418.7913 | 390.6848
Gh = Gexhaust | 16806.5568 | lb/ft2-hr | 15 | 22.0151 | 411.1001 | 377.085 | 15 | 22.0215 | 411.6595 | 378.0814 | 15 | 22.0277 | 412.2119 | 379.0647 | 15 | 22.0339 | 412.7573 | 380.0351 | 15 | 22.04 | 413.2959 | 380.9929 | 15 | 22.046 | 413.8276 | 381.9381 | 15 | 22.052 | 414.3527 | 382.8711 | 15 | 22.0578 | 414.8711 | 383.7918 | 15 | 22.0636 | 415.3831 | 384.7005 | 15 | 22.0694 | 415.8886 | 385.5975 | 15 | 22.075 | 416.3877 | 386.4827 | 15 | 22.0806 | 416.8806 | 387.3564 | 15 | 22.0861 | 417.3674 | 388.2188 | 15 | 22.0916 | 417.848 | 389.07 | 15 | 22.097 | 418.3226 | 389.9102 | 15 | 22.1023 | 418.7913 | 390.7394
Th(r=R, n=1) … Th(r=R, n=N) | 251.524 | oF
Finite Difference Data
dL | 1 | ft
number nodes / tube | 15