## Slide 1: Interactions with Matter
Loss of energy by electrons passing through matter are primarily due to inelastic collisions with the atomic electrons
  Collisions leads to atomic excitation and ionization of atoms.
  However, these effects are much smaller because of the fast velocity of electron (close to the speed of light).
  the de-acceleration of the electron in the medium is accompanied by strong scattering.
Interaction of Electromagnetic Radiation (x-Rays and Gamma rays)
  Gamma radiation interacts with matter through
    Photoelectric Absorption
    Compton Scattering
    Pair Production
Linear Attenuation Coefficient indicates the total loss of photons per unit length. N=-Nx => Nout=Nine-x => It=I0e-x

## Slide 2: Attenuation Coefficients
Linear attenuation coefficients can also be expressed as
where No is Avagadro’s number (=6.02 x 1023 mol-1, A is atomic mass number, ma is atomic attenuation coefficient, Z is atomic number.
Coherent or Rayleigh scattering (usually in low energy photons) causes deflection of x-ray beams.
  The deflection is caused by atoms being excited by incident radiation and re-emitting waves at the same wavelength.
  This is important for x-rays with the energies of the order of a few keV and thus the wavelength of the same order of magnitude as atomic dimensions.
For relatively higher energy photons used in diagnostic x-rays, Rayleigh sectoring is unimportant. The photoelectric absorption is a dominating factor in diagnostic x-rays.

## Slide 3: Photoelectric Absorption
x-ray or gamma ray photon is absorbed by interacting with a tightly bound electron (inner shell electron).
  The vacancy is filled by an electron falling on it usually from the next shell. This is accompanied by the emission of fluorescent radiation
The kinetic energy of the ejected electron is dissipated in the matter.
  Lower energy excitation is absorbed in M and L shells while the higher energy excitation is absorbed in the inner K shell.
The probability of photoelectric effect occurring is larger when the of gamma-photon energy is close to the binding energy.
The probability can also be increased by having higher atomic number absorber material.
Higher atomic number material can be used as radio-opaque dyes since they increase the photoelectric absorption significantly and therefore increases the attenuation coefficients.

## Slide 4: Compton Scattering
The Compton effect consists of a collision between a photon and a loosely bound electron (in an outer shell) for a loss of energy.
E = E’ + (m-m0)c2
E’ is the new photon energy m0 is the mass of the electron, c is velocity of light m is the mass of moving electron.

## Slide 5: Pair Production
For photon with the energy exceeding 2mc2 or 1.02 MeV, it is possible to create an electron-positron pair through the interaction of such a quanta with the field of nucleus.
High energy photon interaction with the nucleaus or near the nucleus causes ionization of the atom to produce a pair of charged particles (negatron and positron).
The resulting kinetic energy of the produced charged particles is equal to E = E’-2mc2

## Slide 6: Energy Dependent Interactions
For photons with energy range from a few keV to 100 MeV.
  Lower energy range: Coherent or Rayleigh scattering
  Photoelectric absorption plays a significant role in an absorber with large atomic number but decreases rapidly with increasing radiation energy.
  Compton scattering is significant from several keV to several MeV.for all absorber but more significant for small Z material (such as organic material).

## Slide 7: Total Mass Attenuation Coefficients of Water at 511 keV
Photon Energy (keV)
0
0
500
100
1.0
(cm2/g)
Rayleigh Scattering
Photoelectric Absorption Scattering
Compton Scattering
Total Mass Attenuation Coefficient