## Slide 1: Medical Image Analaysis
Atam P. Dhawan

## Slide 2: Image Enhancement: Spatial Domain
Histogram Modification

## Slide 3: Medical Images and Histograms

## Slide 4: Histogram Equalization

## Slide 5: Image Averaging Masks
f(-1,0)
f(0,-1)
f(0,0)
f(0,1)
f(1,0)
f(-1,-1)
f(-1,0)
f(-1,0)
f(0,-1)
f(0,0)
f(0,1)
f(0,-1)
f(1,0)
f(1,1)

## Slide 6: Image Averaging
1
2
1
2
4
2
1
2
1

## Slide 7: Median Filter

## Slide 8: Laplacian: Second Order Gradient for Edge Detection
-1
-1
-1
-1
8
-1
-1
-1
-1

## Slide 9: Image Sharpening with Laplacian
-1
-1
-1
-1
9
-1
-1
-1
-1

## Slide 10: Feature Adaptive Neighborhood
Xc
Xc
Center Region
Surround Region

## Slide 11: Feature Enhancement
C’(x,y)=F{C(x,y)}

## Slide 12: Micro-calcification Enhancement

## Slide 13: Frequency-Domain Methods

## Slide 14: Low-Pass Filtering

## Slide 15: High Pass Filtering

## Slide 16: Wavelet Transform
Fourier Transform only provides frequency information.
Windowed Fourier Transform can provide time-frequency localization limited by the window size.
Wavelet Transform is a method for complete time-frequency localization for signal analysis and characterization.

## Slide 17: Wavelet Transform..
Wavelet Transform : works like a microscope focusing on finer time resolution as the scale becomes small to see how the impulse gets better localized at higher frequency permitting a local characterization
Provides Orthonormal bases while STFT does not.
Provides a multi-resolution signal analysis approach.

## Slide 18: Wavelet Transform…
Using scales and shifts of a prototype wavelet, a linear expansion of a signal is obtained.
Lower frequencies, where the bandwidth is narrow (corresponding to a longer basis function) are sampled with a large time step.
Higher frequencies corresponding to a short basis function are sampled with a smaller time step.

## Slide 19: Continuous Wavelet Transform
Shifting and scaling of a prototype wavelet function can provide both time and frequency localization.
Let us define a real bandpass filter with impulse response (t) and zero mean:
This function now has changing time-frequency tiles because of scaling.
  a<1: (a,b) will be short and of high frequency
  a>1: (a,b) will be long and of low frequency

## Slide 20: Wavelet Decomposition

## Slide 21: Wavelet Coefficients
Using orthonormal property of the basis functions, wavelet coefficients of a signal f(x) can be computed as
The signal can be reconstructed from the coefficients as

## Slide 22: Wavelet Transform with Filters
The mother wavelet can be constructed using a scaling function (x) which satisfies the two-scale equation
Coefficients h(k) have to meet several conditions for the set of basis functions to be unique, orthonormal and have a certain degree of regularity.
For filtering operations, h(k) and g(k) coefficients can be used as the impulse responses correspond to the low and high pass operations.

## Slide 23: Decomposition
H
H
G
H
G
G
2
2
2
2
2
Data

## Slide 24: Wavelet Decomposition Space

## Slide 25: Image Decomposition
h
g
s
u
b
-
s
a
m
p
l
e
L
e
v
e
l
0
L
e
v
e
l
1
h
-
h
h
-
g
g
-
h
g
-
g
h
o
r
i
z
o
n
t
a
l
l
y
v
e
r
t
i
c
a
l
l
y
s
u
b
-
s
a
m
p
l
e
g
g
h
h
X
Image

## Slide 26: Wavelet and Scaling Functions

## Slide 27: Image Processing and Enhancement

## Slide 28: Image Segmentation
Edge-Based Segmentation
Gray-level Thresholding
Pixel Clustering
Region Growing and Spiliting
Artificial Neural Network
Model-Based Estimation

## Slide 29: Gray-Level Thesholding

## Slide 30: Region Growing

## Slide 31: Neural Network Element

## Slide 32: Artificial Neural Network: Backpropagation

## Slide 33: RBF Network
RBF Unit 1
RBF Unit 2
RBF Unit n
Input Image
Sliding
Image Window
Output
Linear Combiner
RBF Layer

## Slide 34: RBF NN Based Segmentation

## Slide 35: Image Representation
Bottom-Up
Scenario
Scene-1
Scene-I
Object-1
Object-J
S-Region-1
S-Region-K
Region-1
Region-L
Pixel (i,j)
Edge-M
Edge-1
Pixel (k,l)
Top-Down

## Slide 36: Image Analysis: Feature Extraction
Statistical Features
  Histogram
  Moments
  Energy
  Entropy
  Contrast
  Edges
Shape Features
  Boundary encoding
  Moments
  Hough Transform
  Region Representation
  Morphological Features
Texture Features
Spatio Frequency Features
Relational Features

## Slide 37: Image Classification
Feature Based Pattern Classifiers
  Statistical Pattern Recognition
    Unsupervised Learning
    Supervised Learning
  Sytntactical Pattern Recognition
    Logical predicates
  Rule-Based Classifers
  Model-Based Classifiers
  Artificial Neural Networks

## Slide 38: Morphological Features
A
B

## Slide 39: Some Shape Features
A
E
H
D
B
C
F
G
O
Longest axis GE.
Shortest axis HF.
Perimeter and area of the minimum bounded rectangle ABCD.
Elongation ratio: GE/HF
Perimeter p and area A of the segmented region.
Circularity
Compactness

## Slide 40: Relational Features
A
C
B
D
F
I
E
B
C
A
I
E
D
F

## Slide 41: Nearest Neighbor Classifier

## Slide 42: Rule Based Systems
Strategy Rules
A priori knowledge
or models
Focus of Attention Rules
Knowledge Rules
Activity
Center
Input
Database
Output
Database

## Slide 43: Strategy Rules

## Slide 44: FOA Rules

## Slide 45: Knowledge Rules

## Slide 46: Neuro-Fuzzy Classifiers

## Slide 47: Computer Aided Diagnosis: Data Processing
Predictive Models
ROC Analysis
Medical
Imaging
Scanner
Feature
Extraction
Database
Raw-Data
Representation
Pattern
Classification
Correlation
and
Optimization
Notes: <number>

## Slide 48: Extraction of Ventricles
Notes: <number>

## Slide 49: Composite 3D Ventricle Model
Notes: <number>

## Slide 50: Extraction of Lesions
Notes: <number>

## Slide 51: Extraction of Sulci
Notes: <number>

## Slide 52: Segmented Regions
Notes: <number>

## Slide 53: Structural Signatures: Volume Measurements of Ventricular Size and Cortical Atrophy in Alcoholic and Normal Populations from MRI
Center for Intelligent Vision System
Ventricular Volume Alcoholics
Ventricular Volume Normal
Sulcus Volume Alcoholics
Sulcus Volume Normal
0
0.05
0.1
0.15
0.2
0.25
Notes: <number>

## Slide 54: Multi-Parameter Measurements
Do = f{T1, T2, HD, T1+Gd, pMRI, MRA, 1H-MRS, ADC, MTC, BOLD}
where,
T1 = NMR spin-lattice relaxation time
T2 = NMR spin-spin relaxation time
HD = Proton density
Gd+T1 = Gadolinium enhanced T1
pMRI = Dynamic T2* images during Gd bolus injection
MRA = Time of flight MR angiography
MRS = Magnetic Resonance Spectroscopy
ADC= Apparent Diffusion Coefficient
MTC= Magnetization Transfer Contrast
BOLD = Blood Oxygenation Level Dependent
Notes: <number>

## Slide 55: Regional Classification & Characterization
1. White matter 2. Corpus callosum 3. Superficial gray
4. Caudate 5. Thalamus 6. Putamen
7. Globus pallidus 8. Internal capsule 9. Blood vessel
10. Ventricle 11. Choroid plexus 12. Septum pellucidium
13. Fornices 14. Extraaxial fluid 15. Zona granularis
16. Undefined
Notes: <number>

## Slide 56: Adaptive Multi-Level Multi-Dimensional Analysis
Notes: <number>

## Slide 57: Building Signatures
Notes: <number>

## Slide 58: Analysis of 15 classes (normal group)
Notes: <number>

## Slide 59: Stroke Effect on 12-Years Old Subject
Notes: <number>

## Slide 60: Typical Function of Interest Analysis: Dhawan et al. (1992)
Center for Intelligent Vision and Information System
FVOI Signature
Anatomical Reference
(S.C.A.)
Functional Reference
(F.C.A.)
Reference
Signatures
MR Image
(New Subject)
PET Image
(New Subject)
MR-PET
Registration
Notes: <number>

## Slide 61: Principal Axes Registration
= 1 if (x,y,z) is in the object
= 0 if (x,y,z) is not in the object
Binary Volume
Centroids
Notes: <number>

## Slide 62: PAR
1. Translate the centroid of V1 to the origin.
2. Rotate the principal axes of V1 to coincide with the x, y and z axes.
3. Rotate the x, y and z axes to coincide with the principal axes of V2.
4. Translate the origin to the centroid of V2.
5. Scale V2 volume to match V1 volume.
Notes: <number>

## Slide 63: Iterative PAR for MR-PET Images (Dhawan et al, 1992)
1. Threshold the PET data.
2. Extract binary cerebrum and cerebellum areas from MR scans.
3. Obtain a three-dimensional representation for both MR and PET
data: rescale and interpolate.
4. Construct a parallelepiped from the slices of the interpolated PET data that
contains the binary PET brain volume. This volume will be referred to as
the "FOV box" of the PET data.
5. Compute the centroid and principal axes of the binary PET brain volume.
Notes: <number>

## Slide 64: Iterative PAR…
6. Add n slices to the FOV box on the top and the bottom such that the
augmented FOV(n) box will have the same number of slices as the binary
MR brain. Gradually shrink this FOV(n) box back to its original size,
FOV(0) box, recomputing the centroid and principal axes of the trimmed
binary MR brain at each step iteratively.
7. Interpolate the gray-level PET data (rescaled to match the MR data)
to obtain the PET volume.
8. Transform the PET volume into the space of the original MR slices using
the last set of MR and PET centroids and principal axes.. Extract from the
PET volume the slices which match the original MR slices.
Notes: <number>

## Slide 65: IPAR
Iteration 1
Iteration 2
Iteration 3
Notes: <number>

## Slide 66: Multi-Modality MR-PET Brain Image Image Registration
Center for Intelligent Vision and Information Systems
Notes: <number>

## Slide 67: Multi-Modality MR-PET Brain Image Registration
Center for Intelligent Vision and Information Systems
Notes: <number>

## Slide 68: Multi-Modality MR-PET Brain Image Registration
Center for Intelligent Vision and Information Systems
Notes: <number>

## Slide 69: MR Volume Signatures
Notes: <number>