## Slide 1: Image Reconstruction
Atam P Dhawan

## Slide 2: Image Formation

z
Image Formation System
h
Object Domain
Image Domain


x
y
Radiating Object f()
Image g(x,y,z)

## Slide 3: Image Formation: External Source
Reconstructed Cross-Sectional Image
Radiation Source

z
Image Formation System
h
Object Domain
Image Domain
Selected
Cross-Section

x
y
Radiating Object

Image

## Slide 4: Image Formation: Internal Source


z
Reconstructed Cross-Sectional Image
Image Formation System
h
Object Domain
Image Domain
Selected
Cross-Section

x
y
Radiating Object
Image

## Slide 5: Fourier Transform

## Slide 6: Radon Transform
x
y
q

p

p
f(x,y)
P(p,)
Line integral projection P(p,) of the two-dimensional Radon transform.

## Slide 7: Radon Transform
Projection p1
Projection p2
Projection p3
Reconstruction Space
A
B

## Slide 8: Fourier Slice Theorem
X-y coordinate system rotated to p-q
u =  cos 
v=  sin 

## Slide 9: Fourier Slice Theorem…
u
v
F(u,v)



Sk()
S2()
S1()

## Slide 10: Inverse Radon Transform

## Slide 11: Filtered Backprojection
The integration over the spatial frequency variable  should be carried out from
But in practice, the projections are considered to be bandlimited.
This means that any spectral energy beyond a spatial frequency, say  must be ignored.
can be computed as
is the Fourier transform of the filter kernel function
in the spatial domain and is bandlimited.

## Slide 12
is the Fourier transform of the filter kernel function
in the spatial domain and is bandlimited.

## Slide 13
H()
1/2
-1/2
1/2


## Slide 14
If the projections are sampled with a time interval of t, the projections can be represented as
Using the Sampling theorem and the bandlimited constraint, all spatial frequency components beyond  are ignored such that
For the bandlimited projections with a sampling interval of 

## Slide 15: Filter Function
H()
1/2
-1/2

h(

hR-L(p)
HHamming(p)

## Slide 16: The Final Algorithm: FBP

## Slide 17: Iterative ART
Ray
with ray sum pi
f1
f2
f3
fN
Overlapping area
for defining wi,j

## Slide 18: PET ML Image Reconstruction

## Slide 19: ML-EM Algorithm

## Slide 20: Multi-Grid EM Algorithm

## Slide 21: MGEM Reconstruction

## Slide 22: Reconstruction in MRI
Fourier Transform Reconstruction Method